## Pumpage
Water Treatment Plant Pumpage Report - MG
All Readings Taken @ 12:01 AM on Date Indicated
Month, Year: March 2020
Date | Raw Water Meter | Raw Water Treated | Reclaim Meter | Reclaim Pumpage | Centrate Meter | Centrate Pumpage | Backwash Meter | Backwash Pumpage | Potable Meter | Potable Flow | H.S. Meter | H.S. Pumpage | Cleburne Lake Level (ft) | Reservoir Storage (acre-ft) | Aquila Lake Level (ft) | Aquila Meter | Aquila Flow MGD | Golf Course Meter | Golf Course Flow MG
0 | 17222.81 |  | 6166023 |  | 35.1604 |  | 28907 |  | 9773027 |  | 13811.75 |  |  |  |  | 4421.63
1 | 17228.01 | 5.2 | 6473408 | 0.30739 | 35.1604 | 0 | 29041 | 0.134 | 9876117 | 0.10309 | 13817.13 | 5.38 | 733.17 | 25493 | 537.65 | 4426.73 | 5.1
2 | 17233.11 | 5.1 | 6473408 | 0 | 35.1605 | 0.0001 | 29041 | 0 | 9978035 | 0.10192 | 13822.23 | 5.1 | 733.21 | 25556 | 537.66 | 4431.76 | 5.03
3 | 17238.08 | 4.97 | 6668002 | 0.19459 | 35.239 | 0.0785 | 29151 | 0.11 | 10077912.8 | 0.099878 | 13827.36 | 5.13 | 733.23 | 25587 | 537.66 | 4436.7 | 4.94
4 | 17243.31 | 5.23 | 6668002 | 0 | 35.2391 | 0.0001 | 29151 | 0 | 10183479 | 0.10557 | 13832.65 | 5.29 | 733.34 | 25758 | 537.71 | 4441.84 | 5.14
5 | 17248.44 | 5.13 | 6747289 | 0.079287 | 35.2392 | 0.0001 | 29259 | 0.108 | 10282248 | 0.098769 | 13837.96 | 5.31 | 733.99 | 26779 | 538.19 | 4446.84 | 5
6 | 17252.59 | 4.15 | 6893277 | 0.14599 | 35.3148 | 0.0756 | 29272 | 0.013 | 10366395 | 0.084147 | 13842.62 | 4.66 | 734.06 | 26890 | 538.45 | 4451.89 | 5.05
7 | 17258.62 | 6.03 | 6893277 | 0 | 35.3172 | 0.0024 | 29272 | 0 | 10465037 | 0.098642 | 13848.24 | 5.62 | 734.04 | 26858 | 538.42 | 4456.89 | 5
8 | 17262.75 | 4.13 | 6893277 | 0 | 35.3173 | 0.0001 | 29272 | 0 | 10550934 | 0.085897 | 13852.76 | 4.52 | 733.98 | 26263 | 538.34 | 4461.78 | 4.89
9 | 17267.98 | 5.23 | 7014493 | 0.12122 | 35.3923 | 0.075 | 29391 | 0.119 | 10647319 | 0.096385 | 13858.14 | 5.38 | 733.95 | 26716 | 538.25 | 4466.83 | 5.05
10 | 17272.1 | 4.12 | 7124757 | 0.11026 | 35.3924 | 0.0001 | 29391 | 0 | 10733348 | 0.086029 | 13862.84 | 4.7 | 733.93 | 26684 | 538.18 | 4471.82 | 4.99
11 | 17277.86 | 5.76 | 7183285 | 0.058528 | 35.3924 | 0 | 29497 | 0.106 | 10827286 | 0.093938 | 13868.5 | 5.66 | 733.91 | 26653 | 538.08 | 4476.95 | 5.13
12 | 17284.33 | 6.47 | 7523100 | 0.33981 | 35.4664 | 0.074 | 29738 | 0.241 | 10929470 | 0.10218 | 13874.57 | 6.07 | 733.88 | 26605 | 537.93 | 4481.98 | 5.03
13 | 17289 | 4.67 | 7523101 | 1e-06 | 35.4665 | 0.0001 | 29738 | 0 | 11015756 | 0.086286 | 13879.4 | 4.83 | 733.89 | 26621 | 537.9 | 4486.94 | 4.96
14 | 17293.93 | 4.93 | 7689350 | 0.16625 | 35.5054 | 0.0389 | 29849 | 0.111 | 11105714 | 0.089958 | 13884.85 | 5.45 | 733.9 | 26637 | 537.83 | 4491.96 | 5.02
15 | 17299.15 | 5.22 | 7850036 | 0.16069 | 35.562 | 0.0566 | 29979 | 0.13 | 11197662 | 0.091948 | 13890.24 | 5.39 | 733.89 | 26621 | 537.75 | 4497 | 5.04
16 | 17305.29 | 6.14 | 8094459 | 0.24442 | 35.5621 | 0.0001 | 30112 | 0.133 | 11292536 | 0.094874 | 13896.09 | 5.85 | 734.55 | 27669 | 537.67 | 4502.12 | 5.12
17 | 17311.29 | 6 | 8332835 | 0.23838 | 35.5622 | 0.0001 | 30224 | 0.112 | 11386907 | 0.094371 | 13901.67 | 5.58 | 734.46 | 27527 | 537.6 | 4507.15 | 5.03
18 | 17315.53 | 4.24 | 8398450 | 0.065615 | 35.6069 | 0.0447 | 30334 | 0.11 | 11467759 | 0.080852 | 13906.46 | 4.79 | 735.4 | 29038 | 537.54 | 4510.81 | 3.66
19 | 17321.42 | 5.89 | 8622306 | 0.22386 | 35.6162 | 0.0093 | 30446 | 0.112 | 11560710 | 0.092951 | 13912.27 | 5.81 | 735.46 | 29136 | 537.58 | 4514.28 | 3.47
20 | 17326.72 | 5.3 | 8791100 | 0.16879 | 35.6848 | 0.0686 | 30582 | 0.136 | 11654320 | 0.09361 | 13917.57 | 5.3 | 735.08 | 28520 | 538.62 | 4514.89 | 0.61
21 | 17331.79 | 5.07 | 9100248 | 0.30915 | 35.6849 | 0.0001 | 30892 | 0.31 | 11747012 | 0.092692 | 13922.87 | 5.3 | 734.65 | 27829 | 540.42 | 4514.89 | 0
22 | 17336.84 | 5.05 | 9234692 | 0.13444 | 35.685 | 0.0001 | 30892 | 0 | 11838922 | 0.09191 | 13927.84 | 4.97 | 734.74 | 27973 | 541.22 | 4514.89 | 0
23 | 17341.9 | 5.06 | 9308438 | 0.073746 | 35.685 | 0 | 31011 | 0.119 | 11930906 | 0.091984 | 13933.04 | 5.2 | 734.62 | 27781 | 542.06 | 4514.89 | 0
24 | 17346.87 | 4.97 | 9547042 | 0.2386 | 35.7712 | 0.0862 | 31175 | 0.164 | 12022110 | 0.091204 | 13938.35 | 5.31 | 731.41 | 27446 | 541.61 | 4514.89 | 0
25 | 17351.81 | 4.94 | 9665832 | 0.11879 | 35.7713 | 0.0001 | 31258 | 0.083 | 12114780 | 0.09267 | 13943.84 | 5.49 | 734.24 | 27175 | 541.05 | 4514.89 | 0
26 | 17357.72 | 5.91 | 9665832 | 0 | 35.7713 | 0 | 31258 | 0 | 12207524 | 0.092744 | 13949.4 | 5.56 | 734.13 | 27001 | 540.4 | 4514.89 | 0
27 | 17363.14 | 5.42 | 9927052 | 0.26122 | 35.8398 | 0.0685 | 31400 | 0.142 | 12300780 | 0.093256 | 13954.71 | 5.31 | 734.06 | 26890 | 539.88 | 4514.89 | 0
28 | 17368.17 | 5.03 | 10075037.96 | 0.14799 | 35.8595 | 0.0197 | 31530 | 0.13 | 12394750 | 0.09397 | 13960.06 | 5.35 | 734.02 | 26827 | 539.46 | 4514.89 | 0
29 | 17373.24 | 5.07 | 10141223.8 | 0.066186 | 35.8595 | 0 | 31663 | 0.133 | 12487463 | 0.092713 | 13965.28 | 5.22 | 734.02 | 26827 | 539.01 | 4514.89 | 0
30 | 17379.27 | 6.03 | 10256196.6 | 0.11497 | 35.8596 | 0.0001 | 31774 | 0.111 | 12584070 | 0.096607 | 13971.05 | 5.77 | 733.99 | 26779 | 538.72 | 4514.89 | 0
31 | 17382.86 | 3.59 | 10415549 | 0.15935 | 35.9253 | 0.0657 | 31774 | 0 | 12662361 | 0.078291 | 13975.34 | 4.29 | 733.95 | 26716 | 538.42 | 4514.89 | 0
Totals | 536463.12 | 160.05 |  | 4.2495 |  | 0.7649 |  | 2.867 |  | 2.8893 |  | 163.59 |  |  |  |  | 93.26
Average | 17305.2619 | 5.1629 |  | 0.13708 |  | 0.024674 |  | 0.092484 |  | 0.093204 |  | 5.2771 | 734.0371 |  | 538.7503 |  | 3.0084
Min |  | 3.59 |  | 0 |  | 0 |  | 0 |  | 0.078291 |  | 4.29 | 731.41 |  | 537.54 |  | 0
Max |  | 6.47 |  | 0.33981 |  | 0.0862 |  | 0.31 |  | 0.10557 |  | 6.07 | 735.46 |  | 542.06 |  | 5.14
Calculated Values
| Raw Water Added To System (MG) |  |  | 155.8005 |  |  | Raw to Potable Differential |  |  | -2.0332
(Raw pumpage minus reclaim pumpage)
| Potable Water to Distribution (MG) |  |  | 157.8337 |  |  | Average Raw for Month |  |  | 5.1629
(High service minus plant potable minus Backwash)
| Reclaim Checksum |  |  | 0.61763 |  |  | Peak Raw Flow for Month |  |  | 6.47
(Reclaim minus centrate minus backwash)
Remainder should tie to known water usage
such as re-wash or floc basin draining.

## Water Quality
WATER TREATMENT PLANT MONTHLY WATER QUALITY REPORT | [10 empty] | Month, Year: |  | March/1/2020
Date | AIR TEMP F° (Min) | RAINFALL (IN.) | WATER TEMP. C° | ANALYTICAL RESULTS
|  |  |  | TURBIDITY |  |  | pH |  | RES. Cl2 | TOTAL HARD "V" |  | TOTAL ALKALINITY |  | P ALKALINITY
|  |  |  | RAW | SETTLED (TAP) | FINISHED (TAP) | RAW | FINISHED (TAP) | FINISHED (TAP) | RAW | FINISHED (TAP) | RAW | FINISHED (TAP) | FINISHED (TAP)
1 | 61 | 0 | 14.5 | 10.6 | 2.3133 | 0.11633 | 8.29 | 8.8233 | 3.7633 | 138 | 150.6667 | 92 | 85.3333 | 6.6667
2 | 65 | 0 | 15.3333 | 10.8 | 2.0017 | 0.11333 | 8.46 | 8.8417 | 3.7017 | 145 | 147 | 95 | 84 | 7.3333
3 | 61 | 0 | 16.1667 | 10.1 | 2.2917 | 0.11017 | 8.45 | 8.8417 | 3.6808 | 150 | 154 | 96 | 92 | 6.6667
4 | 48 | 4.2 | 16.5 | 9.19 | 2.2967 | 0.1435 | 8.7 | 8.8317 | 3.7067 | 145 | 153.6667 | 96 | 91 | 7.3333
5 | 54 | 0 | 14.8333 | 6.37 | 1.9317 | 0.1145 | 8.57 | 8.8317 | 3.2369 | 137 | 146.6667 | 96 | 91.3333 | 6.3333
6 | 50 | 0 | 16.1667 | 6.82 | 2.02 | 0.10133 | 8.56 | 8.845 | 3.4717 | 151 | 154.3333 | 118 | 91 | 4.6667
7 | 57 | 0 | 17.1667 | 6.66 | 2.5983 | 0.121 | 8.55 | 8.8483 | 3.7833 | 155 | 147.6667 | 121 | 87.6667 | 4.3333
8 | 52 | 0 | 16 | 5.66 | 2.08 | 0.081333 | 8.46 | 8.8 | 3.85 | 132 | 151.3333 | 100 | 90.3333 | 4
9 | 63 | 0.1 | 15.8333 | 8.53 | 1.8733 | 0.090333 | 8.44 | 8.8117 | 3.5425 | 138 | 158 | 100 | 96.6667 | 1.6667
10 | 64 | 0 | 16.6667 | 8 | 1.916 | 0.12867 | 8.45 | 8.8067 | 3.9042 | 145 | 152 | 110 | 100.3333 | 0
11 | 58 | 0 | 17.5 | 5.3 | 1.3536 | 0.104 | 8.39 | 8.7133 | 3.79 | 140 | 142.6667 | 103 | 87.3333 | 3.6667
12 | 72 | 0 | 17.5 | 3.79 | 1.7333 | 0.084 | 8.47 | 8.78 | 4.155 | 148 | 157.3333 | 115 | 90.6667 | 4.3333
13 | 68 | 0.4 | 18.1667 | 4.01 | 1.6467 | 0.098833 | 8.24 | 8.7267 | 4.0317 | 145 | 156.6667 | 115 | 94.3333 | 5
14 | 55 | 0.1 | 18 | 5.27 | 1.582 | 0.051 | 8.35 | 8.77 | 3.8492 | 144 | 149 | 110 | 89.3333 | 3.6667
15 | 54 | .3" | 16.5 | 5.76 | 1.8517 | 0.069778 | 8.34 | 8.8117 | 3.7492 | 148 | 147 | 112 | 87.3333 | 4.3333
16 | 81 | 0.7 | 17.3333 | 7.02 | 1.7133 | 0.0985 | 8.35 | 8.7733 | 3.7458 | 133 | 154 | 103 | 93.6667 | 5
17 | 52 | 0.6 | 18 | 5.53 | 1.89 | 0.071333 | 8.39 | 8.79 | 3.9433 | 145 | 163.3333 | 105 | 94.3333 | 5.3333
18 | 73 | 1.2 | 18.1667 | 5.11 | 1.98 | 0.055667 | 8.36 | 8.88 | 3.8225 | 150 | 137 | 100 | 89.6667 | 6
19 | 64 | 0.25 | 18.3333 | 16 | 1.66 | 0.0775 | 8.37 | 8.8 | 3.6742 | 160 | 99.6983 | 100 | 85.3333 | 6
20 | 45 | 0.7 | 19.3333 | 17.2 | 2.4683 | 0.092167 | 8.39 | 8.7767 | 3.6908 | 150 | 152 | 103 | 93.6667 | 4.3333
21 | 50 | 1 | 18.3333 | 17.2 | 2.5467 | 0.13417 | 8.36 | 8.9317 | 3.6925 | 130 | 141.3333 | 100 | 81 | 4.3333
22 | 59 | 0.1 | 18.3333 | 20.9 | 2.1517 | 0.102 | 8.3 | 8.9167 | 3.73 | 140 | 135.6667 | 96 | 84 | 5.3333
23 | 70 | 0 | 15.3492 | 8.14 | 1.9217 | 0.099714 | 8.33 | 8.8433 | 3.7892 | 126 | 152.6667 | 102 | 93.6667 | 5.3333
24 | 55 | 0 | 18.3333 | 6.95 | 2.0583 | 0.095833 | 8.37 | 8.8867 | 3.7758 | 140 | 155.6667 | 107 | 96.3333 | 3
25 | 58 | 0 | 18.5 | 7.1 | 2.0467 | 0.14357 | 8.43 | 8.91 | 3.78 | 138 | 144.6667 | 100 | 90.3333 | 6.6667
26 | 72 | 0 | 19 | 8.42 | 2.155 | 0.10117 | 8.41 | 8.8767 | 3.7092 | 142 | 151.3333 | 105 | 100.3333 | 4.6667
27 | 73 | 0 | 19.3333 | 10.1 | 1.7883 | 0.048333 | 8.59 | 8.8317 | 3.6692 | 135 | 152 | 104 | 100 | 5.3333
28 | 60 | 0 | 19.3333 | 9.97 | 1.7217 | 0.11183 | 8.66 | 8.865 | 3.7167 | 145 | 155.3333 | 103 | 94.3333 | 4
29 | 60 | 0 | 19.6667 | 7.65 | 1.915 | 0.084 | 8.79 | 8.895 | 3.6067 | 137 | 146.3333 | 106 | 91.6667 | 4.6667
30 | 55 | 0.7 | 19 | 7.2 | 2.1367 | 0.077 | 8.61 | 8.79 | 3.6517 | 144 | 150 | 105 | 94.3333 | 4.6667
31 | 55 | 0 | 18.4 | 6.93 | 1.9275 | 0.07 | 8.57 | 8.782 | 3.6882 | 145 | 152.3333 | 110 | 102.3333 | 6.3333
TOTAL |  | 10.05
AVG. | 60.129 | 0.335 | 17.4704 | 8.6542 | 1.9862 | 0.096481 | 8.4516 | 8.8268 | 3.7388 | 142.6129 | 148.7537 | 104.129 | 91.7312 | 4.871
MAX. | 81 | 4.2 | 19.6667 | 20.9 | 2.5983 | 0.14357 | 8.79 | 8.9317 | 4.155 | 160 | 163.3333 | 121 | 102.3333 | 7.3333
MIN. | 45 | 0 | 14.5 | 3.79 | 1.3536 | 0.048333 | 8.24 | 8.7133 | 3.2369 | 126 | 99.6983 | 92 | 81 | 0

## Filter
| WATER TREATMENT PLANT MONTHLY FILTER REPORT | [8 empty] | Month, Year: March 2020
Date | FILTER DATA
| NUMBER IN SERVICE | AVG. HOURS IN SERVICE | AVG. HRS. RUN BETWEEN WASH | AVG. MAX. LOSS OF HEAD | WASHWATER (TOTAL ONLY) TG | NO. FILTERS WASHED | gal | lbs | lbs | lbs | lbs | ppm
[7 empty] | LAS | IRON | CL2 | POLY | POT. | IRON | POLY | LAS | CL2 | POT.
1 | 3 | 24 | 103 | 0.3 | 104 | 1 | 38 | 1602.08 | 260 | 342 | 47 | 36.9415 | 7.886 | 0.87622 | 5.9952 | 1.0837
2 | 3 | 24 | 0 | 0 | 0 | 0 | 37 | 1757.12 | 240 | 342 | 37 | 41.311 | 8.0406 | 0.86989 | 5.6425 | 0.86989
3 | 3 | 24 | 99 | 0.96 | 110 | 1 | 37 | 1602.08 | 230 | 342 | 38 | 38.6511 | 8.2509 | 0.89265 | 5.5489 | 0.91677
4 | 3 | 24 | 0 | 0 | 0 | 0 | 37 | 1782.96 | 450 | 367.65 | 37 | 40.8765 | 8.4288 | 0.84827 | 10.3168 | 0.84827
5 | 3 | 24 | 114 | 0.51 | 108 | 1 | 40 | 1737.74 | 80 | 342 | 31 | 40.6164 | 7.9936 | 0.93492 | 1.8698 | 0.72457
6 | 3 | 24 | 0 | 0 | 0 | 0 | 33 | 1543.94 | 250 | 282.15 | 51 | 44.6084 | 8.152 | 0.95345 | 7.2231 | 1.4735
7 | 3 | 24 | 0 | 0 | 0 | 0 | 47 | 2202.86 | 370 | 410.4 | 12 | 43.803 | 8.1606 | 0.93458 | 7.3573 | 0.23862
8 | 3 | 20 | 0 | 0 | 0 | 0 | 27 | 1537.48 | 200 | 282.15 | 43 | 44.6368 | 8.1915 | 0.78388 | 5.8065 | 1.2484
9 | 3 | 24 | 118 | 1.32 | 132 | 1 | 41 | 1931.54 | 200 | 342 | 29 | 44.2829 | 7.8408 | 0.93997 | 4.5852 | 0.66486
10 | 3 | 19 | 0 | 0 | 0 | 0 | 32 | 1556.86 | 200 | 299.25 | 30 | 45.3092 | 8.7091 | 0.93129 | 5.8206 | 0.87309
11 | 4 | 21 | 106 | 5.03 | 106 | 1 | 47 | 2403.12 | 400 | 470.25 | 36 | 50.025 | 9.789 | 0.97838 | 8.3267 | 0.7494
12 | 4 | 24 | 116 | 0.51 | 141 | 1 | 50 | 2596.92 | 300 | 470.25 | 37 | 48.1269 | 8.7148 | 0.92662 | 5.5597 | 0.6857
13 | 4 | 20.5 | 0 | 0 | 0 | 0 | 35 | 1879.86 | 310 | 282.15 | 45 | 48.2661 | 7.2443 | 0.89864 | 7.9594 | 1.1554
14 | 3 | 24 | 95 | 0.48 | 111 | 1 | 35 | 1879.86 | 250 | 342 | 22 | 45.7207 | 8.3179 | 0.85125 | 6.0803 | 0.53507
15 | 4 | 24 | 104 | 0.47 | 130 | 1 | 34 | 1989.68 | 280 | 367.65 | 57 | 45.7032 | 8.445 | 0.78098 | 6.4316 | 1.3093
16 | 4 | 24 | 99 | 0.47 | 133 | 1 | 41 | 2286.84 | 300 | 427.5 | 44 | 44.6582 | 8.3484 | 0.80066 | 5.8585 | 0.85925
17 | 4 | 24 | 120 | 0.96 | 117 | 1 | 39 | 2267.46 | 280 | 427.5 | 33 | 45.3129 | 8.5432 | 0.77938 | 5.5955 | 0.65947
18 | 4 | 24 | 119 | 0.77 | 110 | 1 | 27 | 1640.84 | 200 | 239.4 | 37 | 46.4017 | 6.7701 | 0.76354 | 5.6559 | 1.0463
19 | 4 | 24 | 37 | 0.51 | 112 | 1 | 37 | 2189.94 | 300 | 384.75 | 26 | 44.5811 | 7.8324 | 0.75322 | 6.1072 | 0.52929
20 | 4 | 24 | 106 | 2.73 | 136 | 1 | 33 | 2015.52 | 290 | 367.65 | 45 | 45.5979 | 8.3175 | 0.74657 | 6.5608 | 1.0181
21 | 3 | 24 | 118 | 0.5 | 310 | 2 | 37 | 1938 | 300 | 367.65 | 28 | 45.8332 | 8.6948 | 0.87504 | 7.0949 | 0.66219
22 | 3 | 24 | 0 | 0 | 0 | 0 | 37 | 1905.7 | 250 | 367.65 | 36 | 45.2478 | 8.7293 | 0.87851 | 5.9358 | 0.85476
23 | 4 | 24 | 95 | 0.47 | 119 | 1 | 36 | 1970.3 | 280 | 324.9 | 53 | 46.6891 | 7.699 | 0.85307 | 6.635 | 1.2559
24 | 4 | 24 | 96 | 0.92 | 169 | 1 | 35 | 2099.5 | 280 | 367.65 | 42 | 50.6516 | 8.8698 | 0.84439 | 6.7552 | 1.0133
25 | 3 | 24 | 95 | 1.41 | 81 | 1 | 35 | 2112.42 | 260 | 342 | 38 | 51.2728 | 8.3011 | 0.84952 | 6.3107 | 0.92234
26 | 4 | 24 | 0 | 0 | 0 | 0 | 42 | 2428.96 | 300 | 453.15 | 26 | 49.2796 | 9.1937 | 0.85211 | 6.0865 | 0.5275
27 | 4 | 24 | 93 | 1.48 | 142 | 1 | 39 | 2319.14 | 380 | 367.65 | 46 | 51.3052 | 8.1333 | 0.86278 | 8.4066 | 1.0176
28 | 3 | 24 | 111 | 0.48 | 130 | 1 | 34 | 2532.32 | 140 | 342 | 26 | 60.3649 | 8.1525 | 0.81048 | 3.3373 | 0.61978
29 | 3 | 24 | 102 | 0 | 133 | 1 | 37 | 2118.88 | 340 | 367.65 | 28 | 50.1109 | 8.6948 | 0.87504 | 8.0409 | 0.66219
30 | 4 | 24 | 96 | 0.49 | 111 | 1 | 45 | 2416.04 | 330 | 427.5 | 45 | 48.042 | 8.5007 | 0.89481 | 6.5619 | 0.89481
31 | 4 | 10.5 | 0 | 0 | 0 | 0 | 23 | 1485.8 | 170 | 299.25 | 24 | 49.6249 | 9.9948 | 0.76819 | 5.6779 | 0.80159
TOTAL |  | 715 |  |  | 2745 | 22 | 1147 | 61731.76 | 8420 | 11157.75 | 1105
AVG | 3.4839 |  | 69.0968 | 0.67 | 88.5484 | 0.70968 | 37 | 1787.0709 | 271.6129 | 347.4409 | 36.8333 | 48.1595 | 8.3529 | 0.85833 | 6.295 | 0.86197
MIN | 3 |  | 0 | 0 | 0 | 0 | 23 | 1537.48 | 80 | 282.15 | 12 | 44.5811 | 6.7701 | 0.74657 | 1.8698 | 0.23862
MAX | 4 |  | 120 | 5.03 | 310 | 2 | 50 | 2403.12 | 450 | 470.25 | 57 | 60.3649 | 9.9948 | 0.97838 | 10.3168 | 1.4735

## Monthly Chemical Report
Month, Year: |  | March/1/2020 | Water Treatment Plant Monthly Chemical Report
Month, Year: |  | #REF!
|  | LAS |  |  | Ferric |  |  | Chlorine (lbs) |  |  | Polymer (lbs) |  |  | KMnO4 (lbs) |  |  | Lime |  |  | PAC |  |  | Potassium (lbs) |  |  | LIME
Date | Raw Water Treated (MGD) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | Cost Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | Cost Per Day (treated water) | $ Per Day (treated water) | Total $Per MGD | Total $ Per Day
1 | 5.2 | 388.74 | 7.9991 | 41.5952 | 3204.16 | 58.2294 | 302.7931 | 260 | 17.975 | 93.47 | 342 | 48.0115 | 249.66 | [9 empty] | 47 | 18.9311 | 98.4415 | 171.6 | 151.1461 | 957.5598
2 | 5.1 | 378.51 | 7.9413 | 40.5006 | 3514.24 | 65.1168 | 332.0957 | 240 | 16.9176 | 86.28 | 342 | 48.9529 | 249.66 | [9 empty] | 37 | 15.1954 | 77.4965 | 168.3 | 154.1241 | 954.3328
3 | 4.97 | 378.51 | 8.149 | 40.5006 | 3204.16 | 60.9242 | 302.7931 | 230 | 16.6368 | 82.685 | 342 | 50.2334 | 249.66 | [9 empty] | 38 | 16.0143 | 79.591 | 164.01 | 151.9577 | 919.2397
4 | 5.23 | 378.51 | 7.7439 | 40.5006 | 3565.92 | 64.432 | 336.9794 | 450 | 30.9321 | 161.775 | 367.65 | 51.3163 | 268.3845 | [9 empty] | 37 | 14.8177 | 77.4965 | 172.59 | 169.2421 | 1057.726
5 | 5.13 | 409.2 | 8.535 | 43.7844 | 3475.48 | 64.022 | 328.4329 | 80 | 5.6062 | 28.76 | 342 | 48.6667 | 249.66 | [9 empty] | 31 | 12.6568 | 64.9295 | 169.29 | 139.4867 | 884.8568
6 | 4.15 | 337.59 | 8.7041 | 36.1221 | 3087.88 | 70.3144 | 291.8047 | 250 | 21.6566 | 89.875 | 282.15 | 49.6312 | 205.9695 | [9 empty] | 51 | 25.7396 | 106.8195 | 136.95 | 176.046 | 867.5408
7 | 6.03 | 480.81 | 8.5318 | 51.4467 | 4405.72 | 69.0449 | 416.3405 | 370 | 22.0589 | 133.015 | 410.4 | 49.6836 | 299.592 | [9 empty] | 12 | 4.1682 | 25.134 | 198.99 | 153.4873 | 1124.5182
8 | 4.13 | 276.21 | 7.156 | 29.5545 | 3074.96 | 70.3593 | 290.5837 | 200 | 17.4092 | 71.9 | 282.15 | 49.8715 | 205.9695 | [9 empty] | 43 | 21.8071 | 90.0635 | 136.29 | 166.6032 | 824.3612
9 | 5.23 | 419.43 | 8.5811 | 44.879 | 3863.08 | 69.8013 | 365.0611 | 200 | 13.7476 | 71.9 | 342 | 47.7361 | 249.66 | [9 empty] | 29 | 11.6139 | 60.7405 | 172.59 | 151.48 | 964.8306
10 | 4.12 | 327.36 | 8.5018 | 35.0275 | 3113.72 | 71.4191 | 294.2465 | 200 | 17.4515 | 71.9 | 299.25 | 53.0225 | 218.4525 | [9 empty] | 30 | 15.2512 | 62.835 | 135.96 | 165.646 | 818.4216
11 | 5.76 | 480.81 | 8.9317 | 51.4467 | 4806.24 | 78.8524 | 454.1897 | 400 | 24.9653 | 143.8 | 470.25 | 59.5977 | 343.2825 | [9 empty] | 36 | 13.0906 | 75.402 | 190.08 | 185.4376 | 1258.2009
12 | 6.47 | 511.5 | 8.4591 | 54.7305 | 5193.84 | 75.8606 | 490.8179 | 300 | 16.6692 | 107.85 | 470.25 | 53.0576 | 343.2825 | [9 empty] | 37 | 11.9778 | 77.4965 | 213.51 | 166.0243 | 1287.6874
13 | 4.67 | 358.05 | 8.2037 | 38.3113 | 3759.72 | 76.08 | 355.2935 | 310 | 23.864 | 111.445 | 282.15 | 44.1048 | 205.9695 | [9 empty] | 45 | 20.1825 | 94.2525 | 154.11 | 172.4351 | 959.3819
14 | 4.93 | 358.05 | 7.7711 | 38.3113 | 3759.72 | 72.0677 | 355.2935 | 250 | 18.2302 | 89.875 | 342 | 50.641 | 249.66 | [9 empty] | 22 | 9.3467 | 46.079 | 162.69 | 158.0566 | 941.9089
15 | 5.22 | 347.82 | 7.1296 | 37.2167 | 3979.36 | 72.0401 | 376.0495 | 280 | 19.2835 | 100.66 | 367.65 | 51.4147 | 268.3845 | [9 empty] | 57 | 22.871 | 119.3865 | 172.26 | 172.7389 | 1073.9573
16 | 6.14 | 419.43 | 7.3093 | 44.879 | 4573.68 | 70.393 | 432.2128 | 300 | 17.5651 | 107.85 | 427.5 | 50.8265 | 312.075 | [9 empty] | 44 | 15.0094 | 92.158 | 202.62 | 161.1034 | 1191.7948
17 | 6 | 398.97 | 7.115 | 42.6898 | 4534.92 | 71.425 | 428.5499 | 280 | 16.7767 | 100.66 | 427.5 | 52.0125 | 312.075 | [9 empty] | 33 | 11.5198 | 69.1185 | 198 | 158.8489 | 1151.0932
18 | 4.24 | 276.21 | 6.9704 | 29.5545 | 3281.68 | 73.1412 | 310.1188 | 200 | 16.9575 | 71.9 | 239.4 | 41.2175 | 174.762 | [9 empty] | 37 | 18.2775 | 77.4965 | 139.92 | 156.5641 | 803.7517
19 | 5.89 | 378.51 | 6.8762 | 40.5006 | 4379.88 | 70.2714 | 413.8987 | 300 | 18.3107 | 107.85 | 384.75 | 47.6855 | 280.8675 | [9 empty] | 26 | 9.2457 | 54.457 | 194.37 | 152.3894 | 1091.9437
20 | 5.3 | 337.59 | 6.8155 | 36.1221 | 4031.04 | 71.8742 | 380.9333 | 290 | 19.6708 | 104.255 | 367.65 | 50.6386 | 268.3845 | [9 empty] | 45 | 17.7835 | 94.2525 | 174.9 | 166.7825 | 1058.8474
21 | 5.07 | 378.51 | 7.9883 | 40.5006 | 3876 | 72.245 | 366.282 | 300 | 21.2722 | 107.85 | 367.65 | 52.9358 | 268.3845 | [9 empty] | 28 | 11.5673 | 58.646 | 167.31 | 166.0085 | 1008.9731
22 | 5.05 | 378.51 | 8.0199 | 40.5006 | 3811.4 | 71.3222 | 360.1773 | 250 | 17.797 | 89.875 | 367.65 | 53.1454 | 268.3845 | [9 empty] | 36 | 14.9311 | 75.402 | 166.65 | 165.2157 | 1000.9894
23 | 5.06 | 368.28 | 7.7877 | 39.406 | 3940.6 | 73.5942 | 372.3867 | 280 | 19.8933 | 100.66 | 324.9 | 46.8729 | 237.177 | [9 empty] | 53 | 21.9384 | 111.0085 | 166.98 | 170.0866 | 1027.6182
24 | 4.97 | 358.05 | 7.7085 | 38.3113 | 4199 | 79.8401 | 396.8055 | 280 | 20.2535 | 100.66 | 367.65 | 54.0009 | 268.3845 | [9 empty] | 42 | 17.7 | 87.969 | 164.01 | 179.5031 | 1056.1403
25 | 4.94 | 358.05 | 7.7553 | 38.3113 | 4224.84 | 80.8193 | 399.2474 | 260 | 18.9211 | 93.47 | 342 | 50.5385 | 249.66 | [9 empty] | 38 | 16.1115 | 79.591 | 163.02 | 174.1457 | 1023.2997
26 | 5.91 | 429.66 | 7.779 | 45.9736 | 4857.92 | 77.6774 | 459.0734 | 300 | 18.2487 | 107.85 | 453.15 | 55.9728 | 330.7995 | [9 empty] | 26 | 9.2144 | 54.457 | 195.03 | 168.8923 | 1193.1836
27 | 5.42 | 398.97 | 7.8763 | 42.6898 | 4638.28 | 80.8704 | 438.3175 | 380 | 25.2048 | 136.61 | 367.65 | 49.5174 | 268.3845 | [9 empty] | 46 | 17.7762 | 96.347 | 178.86 | 181.2452 | 1161.2087
28 | 5.03 | 347.82 | 7.399 | 37.2167 | 5064.64 | 95.1508 | 478.6085 | 140 | 10.006 | 50.33 | 342 | 49.6342 | 249.66 | [9 empty] | 26 | 10.8264 | 54.457 | 165.99 | 173.0163 | 1036.2622
29 | 5.07 | 378.51 | 7.9883 | 40.5006 | 4237.76 | 78.9878 | 400.4683 | 340 | 24.1085 | 122.23 | 367.65 | 52.9358 | 268.3845 | [9 empty] | 28 | 11.5673 | 58.646 | 167.31 | 175.5877 | 1057.5394
30 | 6.03 | 460.35 | 8.1687 | 49.2574 | 4832.08 | 75.7266 | 456.6316 | 330 | 19.6741 | 118.635 | 427.5 | 51.7537 | 312.075 | [9 empty] | 45 | 15.6306 | 94.2525 | 198.99 | 170.9538 | 1229.8415
31 | 3.59 | 235.29 | 7.0128 | 25.176 | 2971.6 | 78.2218 | 280.8162 | 170 | 17.0237 | 61.115 | 299.25 | 60.8503 | 218.4525 | [9 empty] | 24 | 14.0022 | 50.268 | 118.47 | 177.1108 | 754.2977
Total | 160.05 |  |  | 1255.5177 |  |  | 11667.3026 |  |  | 3026.99 |  |  | 8145.1575 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 2364.6905 | 5281.65 | 5131.3656 | 31741.3083
Avg. | 5.1629 | 378.51 | 7.8358 | 40.5006 | 3982.6942 | 72.9072 | 376.3646 | 271.6129 | 18.8738 | 97.6448 | 359.9274 | 50.8542 | 262.747 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 36.4194 | 15.0569 | 76.2803 | 170.3758 | 198.3212 | 1023.9132
Max | 6.47 | 511.5 | 8.9317 | 54.7305 | 5193.84 | 95.1508 | 490.8179 | 450 | 30.9321 | 161.775 | 470.25 | 60.8503 | 343.2825 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57 | 25.7396 | 119.3865 | 213.51 | 185.4376 | 1287.6874
Min. | 3.59 | 235.29 | 6.8155 | 25.176 | 2971.6 | 58.2294 | 280.8162 | 80 | 5.6062 | 28.76 | 239.4 | 41.2175 | 174.762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 4.1682 | 25.134 | 118.47 | 139.4867 | 754.2977
|  | Ammonia $/lb |  | 0.107 | Ferric $/lb |  | 0.0945 | Chlorine $/lb |  | 0.3595 | Polymer $/lb |  | 0.73 | KMnO4 $/lb |  | 0.25 | Lime $/lb |  | 0.25 | PAC $/lb |  | 0.25 | Potassium $/lb |  | 2.0945 | Lime | 33 | Per MGD
|  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract |  | 0.19832 | PerKG

## LAS Meter
Month:
LAS Carrier Water Meter
Prev.
1 | 8249990 | 8249990
2 | 8290200 | 40210
3 | 8329790 | 39590
4 | 8370980 | 41190
5 | 8411110 | 40130
6 | 8441580 | 30470
7 | 8481550 | 39970
8 | 8513920 | 32370
9 | 8554650 | 40730
10 | 8586840 | 32190
11 | 8622210 | 35370
12 | 8662540 | 40330
13 | 8696610 | 34070
14 | 8735460 | 38850
15 | 8775550 | 40090
16 | 8816370 | 40820
17 | 8856790 | 40420
18 | 8888330 | 31540
19 | 8928150 | 39820
20 | 8969240 | 41090
21 | 9009710 | 40470
22 | 9049910 | 40200
23 | 9090830 | 40920
24 | 9130460 | 39630
25 | 9170880 | 40420
26 | 9211100 | 40220
27 | 9251540 | 40440
28 | 9291700 | 40160
29 | 9332220 | 40520
30 | 9372890 | 40670
31 | 9399840 | 26950
Total |  | 9399840

## Graphs
Chemicals | Amount
LAS | #REF!
Fe | 11667.3026
CL2 | 3026.99
Poly | 8145.1575
Potassium | 2364.6905
Lime | 0
Chemfloc 3315 | 31741.3083