## Water Quality
WATER TREATMENT PLANT MONTHLY WATER QUALITY REPORT | [10 empty] | Month, Year: |  | November/1/2020
Date | AIR TEMP F° (Min) | RAINFALL (IN.) | WATER TEMP. C° | ANALYTICAL RESULTS
|  |  |  | TURBIDITY |  |  | pH |  | RES. Cl2 | TOTAL HARD "V" |  | TOTAL ALKALINITY |  | P ALKALINITY
|  |  |  | RAW | SETTLED (TAP) | FINISHED (TAP) | RAW | FINISHED (TAP) | FINISHED (TAP) | RAW | FINISHED (TAP) | RAW | FINISHED (TAP) | FINISHED (TAP)
1 | 47 | 0 | 17.6667 | 11.5 | 2.315 | 0.12517 | 8.58 | 9.1017 | 3.7758 | 120 | 128 | 86 | 63.6667 | 7
2 | 46 | 0 | 15.8333 | 12.8 | 2.3667 | 0.108 | 8.61 | 8.9183 | 3.75 | 138 | 122.6667 | 85 | 70.3333 | 2
3 | 57 | 0 | 16.3333 | 14.2 | 2.3667 | 0.099667 | 8.39 | 8.87 | 3.9675 | 115 | 134 | 88 | 74.3333 | 3.6667
4 | 61 | 0 | 16.1667 | 16.2 | 2.14 | 0.095333 | 8.55 | 9.0767 | 3.935 | 112 | 126 | 87 | 68.6667 | 3
5 | 61 | 0 | 17.6667 | 11.7 | 1.6883 | 0.1005 | 8.54 | 8.83 | 3.7867 | 125 | 139.3333 | 85 | 75.6667 | 3.3333
6 | 62 | 0 | 18.3333 | 10.04 | 2.1367 | 0.13217 | 8.45 | 8.9283 | 3.7183 | 115 | 126.3333 | 85 | 70.6667 | 3
7 | 61 | 0 | 17.3333 | 9.23 | 2.0483 | 0.111 | 8.61 | 8.9917 | 3.5392 | 123 | 123 | 87 | 71.3333 | 5.6667
8 | 64 | 0 | 18.1667 | 8.83 | 2.0383 | 0.099167 | 8.38 | 8.6333 | 3.7175 | 121 | 128 | 89 | 73 | 4
9 | 67 | 0 | 17.6667 | 11.3 | 2.302 | 0.15133 | 8.19 | 8.8367 | 3.4092 | 120 | 132.3333 | 89 | 70.6667 | 4.3333
10 | 51 | 0 | 17.6667 | 7.46 | 2.465 | 0.14233 | 8.44 | 9.065 | 3.8167 | 125 | 122.6667 | 83 | 64.6667 | 6
11 | 58 | 0 | 17.8333 | 10 | 1.8683 | 0.1245 | 8.57 | 8.755 | 3.9925 | 125 | 125 | 78 | 68.3333 | 3.3333
12 | 59 | 0 | 16.8333 | 6.88 | 2.4633 | 0.119 | 8.54 | 8.7667 | 4.0042 | 135 | 134.3333 | 89 | 68 | 3.3333
13 | 68 | 0 | 18 | 6.15 | 2.6683 | 0.114 | 8.5 | 8.885 | 3.8608 | 128 | 121.3333 | 90 | 64.3333 | 4.3333
14 | 74 | 0 | 18.3333 | 7.36 | 2.1233 | 0.11167 | 8.49 | 8.94 | 3.6275 | 148 | 130 | 90 | 68 | 5.3333
15 | 45 | 0 | 19.5 | 10.4 | 2.2267 | 0.1065 | 8.62 | 9 | 3.6775 | 142 | 126.6667 | 88 | 68.3333 | 5.3333
16 | 81 | 0 | 17.6667 | 10.4 | 2.45 | 0.10617 | 8.43 | 9.01 | 3.565 | 125 | 132.3333 | 96 | 67 | 4.6667
17 | 61 | 0 | 17.8333 | 5.86 | 2.175 | 0.10333 | 8.58 | 8.7183 | 3.5758 | 120 | 127 | 86 | 67.6667 | 3
18 | 54 | 0 | 17.6667 | 7.97 | 2.2717 | 0.093833 | 8.43 | 8.875 | 3.5217 | 138 | 126.3333 | 92 | 70.3333 | 4
19 | 59 | 0 | 17.5 | 9.21 | 2.4317 | 0.091667 | 8.5 | 9.1067 | 3.6442 | 140 | 129.3333 | 100 | 69 | 5
20 | 61 | 0 | 17.8333 | 9.35 | 2.2967 | 0.0935 | 8.69 | 8.9533 | 3.6067 | 128 | 131 | 85 | 70 | 3.3333
21 | 64 | 0 | 18.5 | 9.35 | 2.295 | 0.105 | 8.42 | 8.84 | 3.5067 | 139 | 129 | 88 | 69.6667 | 3.6667
22 | 50 | 0 | 18.5 | 10.7 | 2.1717 | 0.10017 | 8.64 | 8.9383 | 3.84 | 112 | 131.6667 | 85 | 70.3333 | 6
23 | 57 | 0 | 18 | 10.6 | 2.2567 | 0.10267 | 8.62 | 9.0283 | 3.6167 | 137 | 86.6953 | 90 | 68 | 3.6667
24 | 59 | 1 | 18.1667 | 12.5 | 2.1167 | 0.10433 | 8.39 | 8.935 | 3.4425 | 125 | 129 | 91 | 70 | 3.3333
25 | 48 | 0 | 18.1667 | 12.3 | 2.0767 | 0.096333 | 8.48 | 8.995 | 3.6158 | 144 | 134.3333 | 94 | 74 | 6
26 | 59 | 0 | 17.3333 | 13.2 | 1.98 | 0.094 | 8.41 | 8.9933 | 3.85 | 125 | 139.6667 | 95 | 73.6667 | 3.6667
27 | 55 | 0 | 17 | 11 | 2.0767 | 0.10417 | 8.38 | 8.94 | 3.7967 | 120 | 130.6667 | 95 | 67 | 3.3333
28 | 46 | 1 | 17 | 11.4 | 2.1133 | 0.098 | 8.34 | 8.8683 | 3.5525 | 125 | 129.6667 | 100 | 68.3333 | 6.3333
29 | 43 | 0 | 17.8333 | 12 | 2.195 | 0.1065 | 8.45 | 8.9833 | 3.5117 | 136 | 132 | 85 | 69.6667 | 5
30 | 32 | 0 | 15.6667 | 11.1 | 2.5717 | 0.121 | 8.46 | 8.9583 | 3.6317 | 140 | 146 | 92 | 75.6667 | 4.3333
31
TOTAL |  | 2
AVG. | 57 | 0.066667 | 17.6 | 10.3663 | 2.2232 | 0.1087 | 8.4893 | 8.9247 | 3.6952 | 128.2 | 128.4787 | 89.1 | 69.6778 | 4.3
MAX. | 81 | 1 | 19.5 | 16.2 | 2.6683 | 0.15133 | 8.69 | 9.1067 | 4.0042 | 148 | 146 | 100 | 75.6667 | 7
MIN. | 32 | 0 | 15.6667 | 5.86 | 1.6883 | 0.091667 | 8.19 | 8.6333 | 3.4092 | 112 | 86.6953 | 78 | 63.6667 | 2

## Pumpage
Water Treatment Plant Pumpage Report - MG
All Readings Taken @ 12:01 AM on Date Indicated
Month, Year: November 2020
Date | Raw Water Meter | Raw Water Treated | Reclaim Meter | Reclaim Pumpage | Centrate Meter | Centrate Pumpage | Backwash Meter | Backwash Pumpage | Potable Meter | Potable Flow | H.S. Meter | H.S. Pumpage | Cleburne Lake Level (ft) | Reservoir Storage (acre-ft) | Aquila Lake Level (ft) | Aquila Meter | Aquila Flow MGD | Golf Course Meter | Golf Course Flow MG
0 | 18817.92 | 5.47 | 13638925 | 0.0968 | 41.5973 | 0.0127 | 54108 | 0.082 | 8868700 | 0.1448 | 1315.149 | 5.573 | 731.56 | 23028 | 536.52 | 5134.42 | 3.4
1 | 18823.08 | 5.16 | 13826230 | 0.1873 | 41.5984 | 0.0011 | 54219 | 0.111 | 9020300 | 0.1516 | 1320.754 | 5.605 | 731.56 | 23028 | 536.52 | 5137.99 | 3.57
2 | 18829.4 | 6.32 | 13826230 | 0 | 41.5994 | 0.001 | 54219 | 0 | 9165748 | 0.14545 | 1326.236 | 5.482 | 731.52 | 22968 | 536.49 | 5139.83 | 1.84
3 | 18836.28 | 6.88 | 14044012 | 0.21778 | 41.6007 | 0.0013 | 54351 | 0.132 | 9309500 | 0.14375 | 1332.915 | 6.679 | 731.51 | 22953 | 536.48 | 5139.83 | 0
4 | 18841.61 | 5.33 | 14220298 | 0.17629 | 41.6472 | 0.0465 | 54513 | 0.162 | 9454004 | 0.1445 | 1338.519 | 5.604 | 731.5 | 22938 | 536.47 | 5139.83 | 0
5 | 18847.8 | 6.19 | 14377917 | 0.15762 | 41.6668 | 0.0196 | 54634 | 0.121 | 9596529 | 0.14253 | 1344.861 | 6.342 | 731.49 | 22923 | 536.46 | 5139.83 | 0
6 | 18854.12 | 6.32 | 14625584 | 0.24767 | 41.6932 | 0.0264 | 54786 | 0.152 | 9732850 | 0.13632 | 1351.027 | 6.166 | 731.47 | 22893 | 536.46 | 5139.83 | 0
7 | 18860.03 | 5.91 | 14709714 | 0.08413 | 41.7247 | 0.0315 | 54786 | 0 | 9877950 | 0.1451 | 1357.235 | 6.208 | 731.46 | 22878 | 536.46 | 5139.83 | 0
8 | 18865.7 | 5.67 | 14883393 | 0.17368 | 41.7458 | 0.0211 | 54786 | 0 | 10035159.8 | 0.15721 | 1362.866 | 5.631 | 731.45 | 22862 | 536.45 | 5139.83 | 0
9 | 18871.03 | 5.33 | 14941249 | 0.057856 | 41.746 | 0.0002 | 54994 | 0.208 | 10171250 | 0.13609 | 1368.457 | 5.591 | 731.44 | 22847 | 536.44 | 5139.78 | -0.05
10 | 18877.61 | 6.58 | 15098016 | 0.15677 | 41.7462 | 0.0002 | 55108 | 0.114 | 10319450 | 0.1482 | 1374.914 | 6.457 | 731.43 | 22832 | 536.44 | 5139.73 | -0.05
11 | 18883.02 | 5.41 | 15277564 | 0.17955 | 41.7464 | 0.0002 | 55108 | 0 | 10465425 | 0.14597 | 1380.676 | 5.762 | 731.41 | 22802 | 536.44 | 5139.65 | -0.08
12 | 18889.02 | 6 | 15331731 | 0.054167 | 41.7466 | 0.0002 | 55229 | 0.121 | 10615066 | 0.14964 | 1386.846 | 6.17 | 731.39 | 22772 | 536.42 | 5139.54 | -0.11
13 | 18895.03 | 6.01 | 15567210 | 0.23548 | 41.811 | 0.0644 | 55351 | 0.122 | 10761885 | 0.14682 | 1393.078 | 6.232 | 731.37 | 22742 | 536.42 | 5139.43 | -0.11
14 | 18901.03 | 6 | 15950927 | 0.38372 | 41.8133 | 0.0023 | 55594 | 0.243 | 10907992 | 0.14611 | 1399.162 | 6.084 | 731.38 | 22771 | 536.41 | 5139.32 | -0.11
15 | 18906.5 | 5.47 | 16044168 | 0.093241 | 41.8616 | 0.0483 | 55594 | 0 | 11050975 | 0.14298 | 1404.577 | 5.415 | 731.35 | 22712 | 536.41 | 5139.24 | -0.08
16 | 18911.71 | 5.21 | 16125977 | 0.081809 | 41.8678 | 0.0062 | 55723 | 0.129 | 11197203 | 0.14623 | 1410.31 | 5.733 | 731.31 | 22652 | 536.37 | 5139.14 | -0.1
17 | 18917.78 | 6.07 | 16175778 | 0.049801 | 41.8679 | 0.0001 | 55723 | 0 | 11350952 | 0.15375 | 1416.5 | 6.19 | 731.29 | 22622 | 536.36 | 5139.05 | -0.09
18 | 18923.75 | 5.97 | 16234288 | 0.05851 | 41.8681 | 0.0002 | 55844 | 0.121 | 11497616 | 0.14666 | 1422.32 | 5.82 | 731.26 | 22577 | 536.34 | 5138.96 | -0.09
19 | 18929.36 | 5.61 | 16322984 | 0.088696 | 41.8684 | 0.0003 | 55844 | 0 | 11644555 | 0.14694 | 1427.874 | 5.554 | 731.24 | 22547 | 536.32 | 5138.88 | -0.08
20 | 18934.38 | 5.02 | 16461258 | 0.13827 | 41.8696 | 0.0012 | 55983 | 0.139 | 11797064 | 0.15251 | 1433.478 | 5.604 | 731.23 | 22532 | 536.32 | 5138.81 | -0.07
21 | 18939.89 | 5.51 | 16696857 | 0.2356 | 41.8769 | 0.0073 | 56117 | 0.134 | 11943080 | 0.14602 | 1439.013 | 5.535 | 731.22 | 22517 | 536.32 | 5138.73 | -0.08
22 | 18945.89 | 6 | 16924286 | 0.22743 | 41.9665 | 0.0896 | 56245 | 0.128 | 12090600 | 0.14752 | 1445.034 | 6.021 | 731.2 | 22487 | 536.32 | 5138.66 | -0.07
23 | 18951.52 | 5.63 | 17024071 | 0.099785 | 41.9716 | 0.0051 | 56358 | 0.113 | 12238780 | 0.14818 | 1450.501 | 5.467 | 731.17 | 22442 | 536.3 | 5138.61 | -0.05
24 | 18956.47 | 4.95 | 17202400 | 0.17833 | 41.9717 | 0.0001 | 56466 | 0.108 | 12389286 | 0.15051 | 1456.044 | 5.543 | 731.16 | 22427 | 536.29 | 5138.52 | -0.09
25 | 18961.44 | 4.97 | 17352285 | 0.14988 | 41.9718 | 0.0001 | 56594 | 0.128 | 12533950 | 0.14466 | 1461.124 | 5.08 | 731.18 | 22457 | 534.16 | 5138.44 | -0.08
26 | 18966.41 | 4.97 | 17432204 | 0.079919 | 41.9719 | 0.0001 | 56594 | 0 | 12683450 | 0.1495 | 1466.274 | 5.15 | 731.15 | 22412 | 536.34 | 5138.34 | -0.1
27 | 18971.39 | 4.98 | 17510315 | 0.078111 | 41.972 | 0.0001 | 56705 | 0.111 | 12833310 | 0.14986 | 1471.675 | 5.401 | 731.14 | 22397 | 536.35 | 5138.25 | -0.09
28 | 18976.44 | 5.05 | 17618576 | 0.10826 | 42.0519 | 0.0799 | 56705 | 0 | 12981200 | 0.14789 | 1476.84 | 5.165 | 731.13 | 22382 | 536.35 | 5138.16 | -0.09
29 | 18982.08 | 5.64 | 17714673 | 0.096097 | 42.0636 | 0.0117 | 56823 | 0.118 | 13131190 | 0.14999 | 1482.558 | 5.718 | 731.16 | 22427 |  | 5138.06 | -0.1
30 | 18989.04 | 6.96 | 17895159 | 0.18049 | 42.0636 | 0 | 56951 | 0.128 | 13283758 | 0.15257 | 1489.261 | 6.703 | 731.11 | 22352 | 536.35 | 5137.96 | -0.1
31
Totals | 567238.81 | 171.12 |  | 4.2562 |  | 0.4663 |  | 2.843 |  | 4.4151 |  | 174.112 |  |  |  |  | 3.54
Average | 18907.9603 | 5.704 |  | 0.14187 |  | 0.015543 |  | 0.094767 |  | 0.14717 |  | 5.8037 | 731.3227 |  | 536.3193 |  | 0.118
Min |  | 4.95 |  | 0 |  | 0 |  | 0 |  | 0.13609 |  | 5.08 | 731.11 |  | 534.16 |  | -0.11
Max |  | 6.96 |  | 0.38372 |  | 0.0896 |  | 0.243 |  | 0.15721 |  | 6.703 | 731.56 |  | 536.52 |  | 3.57
Calculated Values
| Raw Water Added To System (MG) |  |  | 166.8638 |  |  | Raw to Potable Differential |  |  | 0.009824
(Raw pumpage minus reclaim pumpage)
| Potable Water to Distribution (MG) |  |  | 166.8539 |  |  | Average Raw for Month |  |  | 5.704
(High service minus plant potable minus Backwash)
| Reclaim Checksum |  |  | 0.94693 |  |  | Peak Raw Flow for Month |  |  | 6.96
(Reclaim minus centrate minus backwash)
Remainder should tie to known water usage
such as re-wash or floc basin draining.

## Filter
| WATER TREATMENT PLANT MONTHLY FILTER REPORT | [8 empty] | Month, Year: November 2020
Date | FILTER DATA
| NUMBER IN SERVICE | AVG. HOURS IN SERVICE | AVG. HRS. RUN BETWEEN WASH | AVG. MAX. LOSS OF HEAD | WASHWATER (TOTAL ONLY) TG | NO. FILTERS WASHED | gal | lbs | lbs | lbs | lbs | ppm
[7 empty] | LAS | IRON | CL2 | POLY | POT. | IRON | POLY | LAS | CL2 | POT.
1 | 4 | 24 | 94 | 0.48 | 111 | 1 | 42 | 1627.92 | 280 | 427.5 | 28 | 37.8283 | 9.9339 | 0.97596 | 6.5064 | 0.65064
2 | 4 | 24 | 0 | 0 | 0 | 0 | 47 | 1944.46 | 360 | 709.65 | 0 | 36.8906 | 13.4636 | 0.89169 | 6.83 | 0
3 | 5 | 24 | 129 | 0.15 | 132 | 1 | 58 | 1892.78 | 360 | 538.65 | 55 | 32.9872 | 9.3875 | 1.0108 | 6.2741 | 0.95854
4 | 4 | 24 | 133 | 0.96 | 162 | 1 | 44 | 1673.14 | 320 | 410.4 | 0 | 37.6391 | 9.2324 | 0.98983 | 7.1987 | 0
5 | 4 | 24 | 121 | 0.51 | 121 | 1 | 51 | 1879.86 | 220 | 427.5 | 55 | 36.414 | 8.2809 | 0.9879 | 4.2615 | 1.0654
6 | 4 | 21 | 0 | 2.03 | 152 | 1 | 52 | 1860.48 | 320 | 495.9 | 40 | 35.2973 | 9.4083 | 0.98655 | 6.0711 | 0.75889
7 | 4 | 24 | 0 | 0 | 0 | 0 | 50 | 1925.08 | 340 | 427.5 | 40 | 39.0567 | 8.6733 | 1.0144 | 6.898 | 0.81153
8 | 4 | 24 | 0 | 0 | 0 | 0 | 47 | 1821.72 | 300 | 453.15 | 25 | 38.5241 | 9.5828 | 0.99391 | 6.3441 | 0.52868
9 | 5 | 20 | 147 | 0.88 | 208 | 2 | 43 | 1595.62 | 280 | 453.15 | 25 | 35.8952 | 10.1941 | 0.96733 | 6.2989 | 0.5624
10 | 4 | 24 | 105 | 0.46 | 105 | 1 | 60 | 2021.98 | 380 | 513 | 56 | 36.8455 | 9.3481 | 1.0934 | 6.9246 | 1.0205
11 | 4 | 24 | 0 | 0 | 0 | 0 | 48 | 1705.44 | 300 | 453.15 | 29 | 37.7984 | 10.0434 | 1.0638 | 6.649 | 0.64274
12 | 4 | 24 | 116 | 6 | 121 | 1 | 52 | 1912.16 | 340 | 513 | 23 | 38.2126 | 10.2518 | 1.0392 | 6.7946 | 0.45963
13 | 4 | 24 | 98 | 2.91 | 122 | 1 | 50 | 1950.92 | 320 | 513 | 18 | 38.9223 | 10.2347 | 0.99754 | 6.3842 | 0.35911
14 | 5 | 24 | 109 | 0.72 | 243 | 2 | 50 | 1938 | 340 | 470.25 | 9 | 38.729 | 9.3975 | 0.9992 | 6.7946 | 0.17986
15 | 4 | 24 | 0 | 0 | 0 | 0 | 46 | 1757.12 | 300 | 453.15 | 30 | 38.5166 | 9.9332 | 1.0083 | 6.5761 | 0.65761
16 | 5 | 24 | 0 | 0 | 0 | 0 | 43 | 1640.84 | 280 | 470.25 | 25 | 37.7626 | 10.8224 | 0.98961 | 6.444 | 0.57536
17 | 4 | 24 | 0 | 0 | 0 | 0 | 50 | 1957.38 | 340 | 495.9 | 31 | 38.6652 | 9.7958 | 0.98768 | 6.7162 | 0.61236
18 | 4 | 24 | 115 | 0.72 | 121 | 1 | 50 | 1899.24 | 200 | 470.25 | 16 | 38.1452 | 9.4447 | 1.0042 | 4.0169 | 0.32135
19 | 4 | 24 | 0 | 0 | 0 | 0 | 47 | 1808.8 | 320 | 470.25 | 52 | 38.66 | 10.0508 | 1.0045 | 6.8394 | 1.1114
20 | 4 | 24 | 164 | 0.69 | 139 | 1 | 42 | 1569.78 | 280 | 427.5 | 0 | 37.4946 | 10.211 | 1.0032 | 6.6879 | 0
21 | 4 | 24 | 163 | 0.51 | 134 | 1 | 48 | 1763.58 | 310 | 495.9 | 16 | 38.3776 | 10.7914 | 1.0445 | 6.746 | 0.34818
22 | 4 | 24 | 131 | 0.48 | 128 | 1 | 53 | 1925.08 | 390 | 453.15 | 39 | 38.4708 | 9.0558 | 1.0592 | 7.7938 | 0.77938
23 | 4 | 24 | 124 | 3.47 | 113 | 1 | 50 | 1808.8 | 320 | 470.25 | 11 | 38.5226 | 10.0151 | 1.0649 | 6.8152 | 0.23427
24 | 4 | 24 | 95 | 0.96 | 108 | 1 | 44 | 1576.24 | 300 | 453.15 | 28 | 38.1813 | 10.9767 | 1.0658 | 7.2669 | 0.67825
25 | 4 | 24 | 104 | 0.51 | 128 | 1 | 45 | 1550.4 | 320 | 410.4 | 0 | 37.4043 | 9.9011 | 1.0857 | 7.7202 | 0
26 | 4 | 24 | 0 | 0 | 0 | 0 | 44 | 1576.24 | 280 | 384.75 | 54 | 38.0277 | 9.2823 | 1.0615 | 6.7552 | 1.3028
27 | 4 | 24 | 131 | 1.47 | 111 | 1 | 42 | 1589.16 | 290 | 453.15 | 20 | 38.2624 | 10.9105 | 1.0112 | 6.9824 | 0.48154
28 | 4 | 24 | 0 | 0 | 0 | 0 | 42 | 1563.32 | 310 | 367.65 | 8 | 37.1185 | 8.7293 | 0.99722 | 7.3604 | 0.18995
29 | 4 | 24 | 126 | 0.67 | 118 | 1 | 47 | 1795.88 | 330 | 453.15 | 31 | 38.1797 | 9.6338 | 0.9992 | 7.0157 | 0.65905
30 | 4 | 24 | 145 | 0.67 | 128 | 1 | 51 | 2235.16 | 350 | 538.65 | 24 | 38.5064 | 9.2796 | 0.87861 | 6.0297 | 0.41346
31 | [6 empty] | 0 | 0 | 0 |  | 0 | #VALUE! | #VALUE! | 0 | 0 | 0
TOTAL |  | 713 |  |  | 2705 | 22 | 1438 | 53766.58 | 9380 | 14073.3 | 788
AVG | 4.1333 |  | 78.3333 | 0.84167 | 90.1667 | 0.73333 | 46.3871 | 1813.4982 | 302.5806 | 482.6864 | 26.2667 | 38.1979 | 9.8755 | 0.97667 | 6.387 | 0.52783
MIN | 4 |  | 0 | 0 | 0 | 0 | 0 | 1595.62 | 0 | 410.4 | 0 | 37.1185 | #VALUE! | 0 | 0 | 0
MAX | 5 |  | 164 | 6 | 243 | 2 | 60 | 2021.98 | 390 | 709.65 | 56 | 38.9223 | #VALUE! | 1.0934 | 7.7938 | 1.3028

## Monthly Chemical Report
Month, Year: |  | November/1/2020 | Water Treatment Plant Monthly Chemical Report
Month, Year: |  | #REF!
|  | LAS |  |  | Ferric |  |  | Chlorine (lbs) |  |  | Polymer (lbs) |  |  | KMnO4 (lbs) |  |  | Lime |  |  | PAC |  |  | Potassium (lbs) |  |  | LIME
Date | Raw Water Treated (MGD) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | Cost Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | Cost Per Day (treated water) | $ Per Day (treated water) | Total $Per MGD | Total $ Per Day
1 | 5.16 | 429.66 | 8.9096 | 45.9736 | 3255.84 | 59.6273 | 307.6769 | 280 | 19.5078 | 100.66 | 427.5 | 60.4797 | 312.075 | [9 empty] | 28 | 11.3655 | 58.646 | 170.28 | 159.8898 | 995.3115
2 | 6.32 | 480.81 | 8.1403 | 51.4467 | 3888.92 | 58.1492 | 367.5029 | 360 | 20.4778 | 129.42 | 709.65 | 81.9691 | 518.0445 | [9 empty] | 0 | 0 | 0 | 208.56 | 168.7364 | 1274.9741
3 | 6.88 | 593.34 | 9.2278 | 63.4874 | 3785.56 | 51.9964 | 357.7354 | 360 | 18.811 | 129.42 | 538.65 | 57.1533 | 393.2145 | [9 empty] | 55 | 16.7438 | 115.1975 | 227.04 | 153.9324 | 1286.0948
4 | 5.33 | 450.12 | 9.0362 | 48.1628 | 3346.28 | 59.329 | 316.2235 | 320 | 21.5835 | 115.04 | 410.4 | 56.2086 | 299.592 | [9 empty] | 0 | 0 | 0 | 175.89 | 146.1573 | 954.9083
5 | 6.19 | 521.73 | 9.0186 | 55.8251 | 3759.72 | 57.398 | 355.2935 | 220 | 12.7771 | 79.09 | 427.5 | 50.416 | 312.075 | [9 empty] | 55 | 18.6103 | 115.1975 | 204.27 | 148.2199 | 1121.7511
6 | 6.32 | 531.96 | 9.0063 | 56.9197 | 3720.96 | 55.6378 | 351.6307 | 320 | 18.2025 | 115.04 | 495.9 | 57.2796 | 362.007 | [9 empty] | 40 | 13.2563 | 83.78 | 208.56 | 153.3825 | 1177.9374
7 | 5.91 | 511.5 | 9.2607 | 54.7305 | 3850.16 | 61.5635 | 363.8401 | 340 | 20.6819 | 122.23 | 427.5 | 52.8046 | 312.075 | [9 empty] | 40 | 14.176 | 83.78 | 195.03 | 158.4866 | 1131.6856
8 | 5.67 | 480.81 | 9.0735 | 51.4467 | 3643.44 | 60.724 | 344.3051 | 300 | 19.0212 | 107.85 | 453.15 | 58.3421 | 330.7995 | [9 empty] | 25 | 9.235 | 52.3625 | 187.11 | 156.3957 | 1073.8738
9 | 5.33 | 439.89 | 8.8308 | 47.0682 | 3191.24 | 56.5801 | 301.5722 | 280 | 18.8856 | 100.66 | 453.15 | 62.0637 | 330.7995 | [9 empty] | 25 | 9.8241 | 52.3625 | 175.89 | 156.1843 | 1008.3524
10 | 6.58 | 613.8 | 9.9812 | 65.6766 | 4043.96 | 58.0781 | 382.1542 | 380 | 20.7614 | 136.61 | 513 | 56.9134 | 374.49 | [9 empty] | 56 | 17.8255 | 117.292 | 217.14 | 163.5597 | 1293.3628
11 | 5.41 | 491.04 | 9.7119 | 52.5413 | 3410.88 | 59.5801 | 322.3282 | 300 | 19.9353 | 107.85 | 453.15 | 61.1459 | 330.7995 | [9 empty] | 29 | 11.2274 | 60.7405 | 178.53 | 161.6006 | 1052.7894
12 | 6 | 531.96 | 9.4866 | 56.9197 | 3824.32 | 60.233 | 361.3982 | 340 | 20.3717 | 122.23 | 513 | 62.415 | 374.49 | [9 empty] | 23 | 8.0289 | 48.1735 | 198 | 160.5352 | 1161.2115
13 | 6.01 | 511.5 | 9.1066 | 54.7305 | 3901.84 | 61.3517 | 368.7239 | 320 | 19.1414 | 115.04 | 513 | 62.3111 | 374.49 | [9 empty] | 18 | 6.273 | 37.701 | 198.33 | 158.1839 | 1149.0154
14 | 6 | 511.5 | 9.1218 | 54.7305 | 3876 | 61.047 | 366.282 | 340 | 20.3717 | 122.23 | 470.25 | 57.2138 | 343.2825 | [9 empty] | 9 | 3.1418 | 18.8505 | 198 | 150.8959 | 1103.3755
15 | 5.47 | 470.58 | 9.2051 | 50.3521 | 3514.24 | 60.7122 | 332.0957 | 300 | 19.7166 | 107.85 | 453.15 | 60.4752 | 330.7995 | [9 empty] | 30 | 11.4872 | 62.835 | 180.51 | 161.5964 | 1064.4422
16 | 5.21 | 439.89 | 9.0342 | 47.0682 | 3281.68 | 59.5238 | 310.1188 | 280 | 19.3205 | 100.66 | 470.25 | 65.8892 | 343.2825 | [9 empty] | 25 | 10.0504 | 52.3625 | 171.93 | 163.818 | 1025.422
17 | 6.07 | 511.5 | 9.0166 | 54.7305 | 3914.76 | 60.9464 | 369.9448 | 340 | 20.1367 | 122.23 | 495.9 | 59.6387 | 362.007 | [9 empty] | 31 | 10.6968 | 64.9295 | 200.31 | 160.4352 | 1174.1518
18 | 5.97 | 511.5 | 9.1676 | 54.7305 | 3798.48 | 60.1267 | 358.9564 | 200 | 12.0436 | 71.9 | 470.25 | 57.5013 | 343.2825 | [9 empty] | 16 | 5.6134 | 33.512 | 197.01 | 144.4525 | 1059.3914
19 | 5.61 | 480.81 | 9.1705 | 51.4467 | 3617.6 | 60.9382 | 341.8632 | 320 | 20.5062 | 115.04 | 470.25 | 61.1912 | 343.2825 | [9 empty] | 52 | 19.4143 | 108.914 | 185.13 | 171.2204 | 1145.6764
20 | 5.02 | 429.66 | 9.1581 | 45.9736 | 3139.56 | 59.1013 | 296.6884 | 280 | 20.0518 | 100.66 | 427.5 | 62.1663 | 312.075 | [9 empty] | 0 | 0 | 0 | 165.66 | 150.4775 | 921.057
21 | 5.51 | 491.04 | 9.5356 | 52.5413 | 3527.16 | 60.493 | 333.3166 | 310 | 20.226 | 111.445 | 495.9 | 65.7 | 362.007 | [9 empty] | 16 | 6.082 | 33.512 | 181.83 | 162.0366 | 1074.6519
22 | 6 | 542.19 | 9.6691 | 58.0143 | 3850.16 | 60.64 | 363.8401 | 390 | 23.3675 | 140.205 | 453.15 | 55.1333 | 330.7995 | [9 empty] | 39 | 13.6143 | 81.6855 | 198 | 162.4241 | 1172.5445
23 | 5.63 | 511.5 | 9.7212 | 54.7305 | 3617.6 | 60.7217 | 341.8632 | 320 | 20.4334 | 115.04 | 470.25 | 60.9738 | 343.2825 | [9 empty] | 11 | 4.0923 | 23.0395 | 185.79 | 155.9424 | 1063.7457
24 | 4.95 | 450.12 | 9.7299 | 48.1628 | 3152.48 | 60.1837 | 297.9094 | 300 | 21.7879 | 107.85 | 453.15 | 66.8282 | 330.7995 | [9 empty] | 28 | 11.8477 | 58.646 | 163.35 | 170.3773 | 1006.7177
25 | 4.97 | 460.35 | 9.911 | 49.2574 | 3100.8 | 58.9589 | 293.0256 | 320 | 23.1469 | 115.04 | 410.4 | 60.2801 | 299.592 | [9 empty] | 0 | 0 | 0 | 164.01 | 152.2968 | 920.925
26 | 4.97 | 450.12 | 9.6907 | 48.1628 | 3152.48 | 59.9415 | 297.9094 | 280 | 20.2535 | 100.66 | 384.75 | 56.5126 | 280.8675 | [9 empty] | 54 | 22.7571 | 113.103 | 164.01 | 169.1555 | 1004.7127
27 | 4.98 | 429.66 | 9.2317 | 45.9736 | 3178.32 | 60.3115 | 300.3512 | 290 | 20.9347 | 104.255 | 453.15 | 66.4256 | 330.7995 | [9 empty] | 20 | 8.4116 | 41.89 | 164.34 | 165.3151 | 987.6094
28 | 5.05 | 429.66 | 9.1037 | 45.9736 | 3126.64 | 58.5084 | 295.4675 | 310 | 22.0683 | 111.445 | 367.65 | 53.1454 | 268.3845 | [9 empty] | 8 | 3.318 | 16.756 | 166.65 | 146.1439 | 904.6766
29 | 5.64 | 480.81 | 9.1217 | 51.4467 | 3591.76 | 60.1811 | 339.4213 | 330 | 21.0346 | 118.635 | 453.15 | 58.6524 | 330.7995 | [9 empty] | 31 | 11.5123 | 64.9295 | 186.12 | 160.5021 | 1091.352
30 | 6.96 | 521.73 | 8.0208 | 55.8251 | 4470.32 | 60.6962 | 422.4452 | 350 | 18.0783 | 125.825 | 538.65 | 56.4963 | 393.2145 | [9 empty] | 24 | 7.2224 | 50.268 | 229.68 | 150.5141 | 1277.2578
31 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 |  | #VALUE! | #VALUE! | [9 empty] | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #VALUE!
Total | 171.12 |  |  | 1574.0492 |  |  | 10161.8836 |  |  | 3372.11 |  |  | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 1650.466 | 5646.96 | #DIV/0! | 32678.9778
Avg. | 5.52 | 474.54 | #DIV/0! | 50.7758 | 3468.8116 | #DIV/0! | 327.8027 | 302.5806 | #DIV/0! | 108.7777 | 469.11 | 60.1242 | 342.4503 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 25.4194 | #DIV/0! | 53.2408 | 182.16 | 190.9711 | 1089.2993
Max | 6.96 | 613.8 | #DIV/0! | 65.6766 | 4470.32 | #DIV/0! | 422.4452 | 390 | #DIV/0! | 140.205 | 709.65 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | #DIV/0! | 117.292 | 229.68 | #DIV/0! | #VALUE!
Min. | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | 0 | 367.65 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0 | 0 | #DIV/0! | #VALUE!
|  | Ammonia $/lb |  | 0.107 | Ferric $/lb |  | 0.0945 | Chlorine $/lb |  | 0.3595 | Polymer $/lb |  | 0.73 | KMnO4 $/lb |  | 0.25 | Lime $/lb |  | 0.25 | PAC $/lb |  | 0.25 | Potassium $/lb |  | 2.0945 | Lime | 33 | Per MGD
|  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract |  | 0.19097 | PerKG

## LAS Meter
Month:
LAS Carrier Water Meter
Prev.
1 | 6739250 | 6739250
2 | 6779480 | 40230
3 | 6819320 | 39840
4 | 6859140 | 39820
5 | 6898930 | 39790
6 | 6933190 | 34260
7 | 9673080 | 2739890
8 | 7013090 | -2659990
9 | 7044990 | 31900
10 | 7085190 | 40200
11 | 7124830 | 39640
12 | 7164540 | 39710
13 | 7204700 | 40160
14 | 7244660 | 39960
15 | 7284500 | 39840
16 | 7324370 | 39870
17 |  | 0
18 | 7404020 | 7404020
19 | 7444050 | 40030
20 | 7483960 | 39910
21 | 7523690 | 39730
22 | 7563710 | 40020
23 | 7603770 | 40060
24 | 7643340 | 39570
25 | 7682950 | 39610
26 | 7723000 | 40050
27 | 7762620 | 39620
28 | 7801710 | 39090
29 | 7841200 | 39490
30 | 7881290 | 40090
31 | 0 | -7881290
Total |  | 7324370

## Graphs
Chemicals | Amount
LAS | 2021.7447
Fe | 10161.8836
CL2 | 3372.11
Poly | #VALUE!
Potassium | 1650.466
Lime | 0
Chemfloc 3315 | 32678.9778