## Pumpage
Water Treatment Plant Pumpage Report - MG
All Readings Taken @ 12:01 AM on Date Indicated
Month, Year: September 2020
Date | Raw Water Meter | Raw Water Treated | Reclaim Meter | Reclaim Pumpage | Centrate Meter | Centrate Pumpage | Backwash Meter | Backwash Pumpage | Potable Meter | Potable Flow | H.S. Meter | H.S. Pumpage | Cleburne Lake Level (ft) | Reservoir Storage (acre-ft) | Aquila Lake Level (ft) | Aquila Meter | Aquila Flow MGD | Golf Course Meter | Golf Course Flow MG
0 | 18420.19 |  | 5101408 |  | 40.4184 |  | 48240 |  | 403204 |  | 908.2102 |  |  |  |  | 4926.79
1 | 18427.76 | 7.57 | 5200247 | 0.098839 | 40.4519 | 0.0335 | 48240 | 0 | 550815 | 0.14761 | 916.218 | 8.0078 | 732.04 | 23755 | 536.48 | 4930.27 | 3.48
2 | 18433.81 | 6.05 | 5278315 | 0.078068 | 40.4523 | 0.0004 | 48335 | 0.095 | 689940 | 0.13912 | 922.7568 | 6.5388 | 732.39 | 24290 | 536.67 | 4933.7 | 3.43
3 | 18438.94 | 5.13 | 5454132 | 0.17582 | 40.4787 | 0.0264 | 48432 | 0.097 | 826475 | 0.13653 | 928.1574 | 5.4006 | 729.04 | 19336 | 536.82 | 4937.11 | 3.41
4 | 18444.97 | 6.03 | 5608050 | 0.15392 | 40.4789 | 0.0002 | 48527 | 0.095 | 964618 | 0.13814 | 934.529 | 6.3716 | 732.45 | 24382 | 537.21 | 4940.52 | 3.41
5 | 18452.24 | 7.27 | 5944100 | 0.33605 | 40.4986 | 0.0197 | 48772 | 0.245 | 1108500 | 0.14388 | 941.5496 | 7.0206 | 732.46 | 24397 | 537.22 | 4943.96 | 3.44
6 | 18458.24 | 6 | 6178053 | 0.23395 | 40.5394 | 0.0408 | 49012 | 0.24 | 1254588 | 0.14609 | 947.7302 | 6.1806 | 732.49 | 24443 | 537.26 | 4947.4 | 3.44
7 | 18463.98 | 5.74 | 6332385 | 0.15433 | 40.5396 | 0.0002 | 49012 | 0 | 1394840 | 0.14025 | 953.7704 | 6.0402 | 732.48 | 24428 | 537.25 | 4950.89 | 3.49
8 | 18469.61 | 5.63 | 6379526 | 0.047141 | 40.5771 | 0.0375 | 49091 | 0.079 | 1531520 | 0.13668 | 959.6068 | 5.8364 | 732.46 | 24397 | 537.22 | 4954.33 | 3.44
9 | 18477.27 | 7.66 | 6624487 | 0.24496 | 40.598 | 0.0209 | 49200 | 0.109 | 1675704 | 0.14418 | 967.0578 | 7.451 | 732.45 | 24382 | 537.24 | 4957.82 | 3.49
10 | 18482.27 | 5 | 6772005 | 0.14752 | 40.5982 | 0.0002 | 49398 | 0.198 | 1811600 | 0.1359 | 971.9788 | 4.921 | 732.5 | 24458 | 537.38 | 4961.19 | 3.37
11 | 18487.41 | 5.14 | 6830936 | 0.058931 | 40.6315 | 0.0333 | 49398 | 0 | 1950160 | 0.13856 | 977.7198 | 5.741 | 732.46 | 24399 | 537.26 | 4964.65 | 3.46
12 | 18494.84 | 7.43 | 7257850 | 0.42691 | 40.6658 | 0.0343 | 49647 | 0.249 | 2089385 | 0.13922 | 984.6106 | 6.8908 | 732.49 | 24443 | 537.37 | 4968.07 | 3.42
13 | 18502.27 | 7.43 | 7575600 | 0.31775 | 40.7017 | 0.0359 | 49847 | 0.2 | 2233517 | 0.14413 | 991.9512 | 7.3406 | 732.48 | 24428 | 537.36 | 4971.51 | 3.44
14 | 18508.29 | 6.02 | 7662055 | 0.086455 | 40.7338 | 0.0321 | 49847 | 0 | 2374350 | 0.14083 | 998.4914 | 6.5402 | 732.46 | 24397 | 537.34 | 4974.96 | 3.45
15 | 18514.98 | 6.69 | 7662055 | 0 | 40.7339 | 0.0001 | 49847 | 0 | 2514206 | 0.13986 | 1005.389 | 6.8976 | 732.45 | 24382 | 537.37 | 4978.41 | 3.45
16 | 18521.97 | 6.99 | 7719929 | 0.057874 | 40.7745 | 0.0406 | 49847 | 0 | 2654937 | 0.14073 | 1012.481 | 7.092 | 732.43 | 24351 | 537.31 | 4981.65 | 3.24
17 | 18529.78 | 7.81 | 8090854 | 0.37093 | 40.7746 | 0.0001 | 50235 | 0.388 | 2798305 | 0.14337 | 1020.267 | 7.786 | 732.42 | 24336 | 537.29 | 4984.02 | 2.37
18 | 18537.3 | 7.52 | 8277570 | 0.18672 | 40.8392 | 0.0646 | 50380 | 0.145 | 2942605 | 0.1443 | 1027.946 | 7.679 | 732.39 | 24290 | 537.27 | 4987.45 | 3.43
19 | 18544.78 | 7.48 | 8563312 | 0.28574 | 40.8394 | 0.0002 | 50545 | 0.165 | 3090190 | 0.14758 | 1035.451 | 7.505 | 732.41 | 24310 | 537.21 | 4990.91 | 3.46
20 | 18550.75 | 5.97 | 8646706 | 0.083394 | 40.8396 | 0.0002 | 50545 | 0 | 3235900 | 0.14571 | 1042.159 | 6.708 | 732.34 | 24213 | 537.22 | 4994.29 | 3.38
21 | 18558.26 | 7.51 | 8917452 | 0.27075 | 40.8398 | 0.0002 | 50813 | 0.268 | 3381250 | 0.14535 | 1049.432 | 7.273 | 732.31 | 24167 | 537.2 | 4997.7 | 3.41
22 | 18564.3 | 6.04 | 9032754 | 0.1153 | 40.8799 | 0.0401 | 50968 | 0.155 | 3529038 | 0.14779 | 1055.652 | 6.22 | 732.33 | 24198 | 537.23 | 5001.19 | 3.49
23 | 18570.17 | 5.87 | 9032754 | 0 | 40.8802 | 0.0003 | 50968 | 0 | 3663450 | 0.13441 | 1061.581 | 5.929 | 732.33 | 24198 | 537.22 | 5004.56 | 3.37
24 | 18577.12 | 6.95 | 9248858 | 0.2161 | 40.9229 | 0.0427 | 50968 | 0 | 3795780 | 0.13233 | 1068.311 | 6.73 | 732.31 | 24167 | 537.2 | 5008 | 3.44
25 | 18584.41 | 7.29 | 9282566 | 0.033708 | 40.9428 | 0.0199 | 51077 | 0 | 3929031 | 0.13325 | 1076.697 | 8.386 | 732.29 | 24137 | 537.17 | 5011.43 | 3.43
26 | 18591.43 | 7.02 | 9282568 | 2e-06 | 40.9431 | 0.0003 | 51077 | 0 | 4061044 | 0.13201 | 1083.325 | 6.628 | 732.27 | 24106 | 537.15 | 5014.81 | 3.38
27 | 18598.25 | 6.82 | 9282568 | 0 | 40.9434 | 0.0003 | 51077 | 0 | 4187200 | 0.12616 | 1089.877 | 6.552 | 732.25 | 24075 | 537.12 | 5018.21 | 3.4
28 | 18604.26 | 6.01 | 9446322 | 0.16375 | 40.9824 | 0.039 | 51170 | 0.093 | 4323011 | 0.13581 | 1096.812 | 6.935 | 732.2 | 23999 | 537.08 | 5021.69 | 3.48
29 | 18610.96 | 6.7 | 9665254 | 0.21893 | 40.9827 | 0.0003 | 51170 | 0 | 4454575 | 0.13156 | 1103.707 | 6.895 | 732.2 | 23953 | 537.08 | 5025.09 | 3.4
30 | 18619.6 | 8.64 | 9665254 | 0 | 40.983 | 0.0003 | 51268 | 0.098 | 4589172 | 0.1346 | 1111.927 | 8.22 | 732.21 | 23981 | 537.11 | 5028.57 | 3.48
31 | [11 empty] | 0
Totals | 555620.22 | 199.41 |  | 4.5638 |  | 0.5646 |  | 2.919 |  | 4.186 |  | 203.7168 |  |  |  |  | 101.78
Average | 18520.674 | 6.647 |  | 0.15213 |  | 0.01882 |  | 0.0973 |  | 0.13953 |  | 6.5715 | 732.2597 |  | 537.177 |  | 3.3927
Min |  | 5 |  | 0 |  | 0.0001 |  | 0 |  | 0.12616 |  | 0 | 729.04 |  | 536.48 |  | 2.37
Max |  | 8.64 |  | 0.42691 |  | 0.0646 |  | 0.388 |  | 0.14779 |  | 8.386 | 732.5 |  | 537.38 |  | 3.49
Calculated Values
| Raw Water Added To System (MG) |  |  | 194.8462 |  |  | Raw to Potable Differential |  |  | -1.7657
(Raw pumpage minus reclaim pumpage)
| Potable Water to Distribution (MG) |  |  | 196.6118 |  |  | Average Raw for Month |  |  | 6.647
(High service minus plant potable minus Backwash)
| Reclaim Checksum |  |  | 1.0802 |  |  | Peak Raw Flow for Month |  |  | 8.64
(Reclaim minus centrate minus backwash)
Remainder should tie to known water usage
such as re-wash or floc basin draining.

## Water Quality
WATER TREATMENT PLANT MONTHLY WATER QUALITY REPORT | [10 empty] | Month, Year: |  | September/1/2020
Date | AIR TEMP F° (Min) | RAINFALL (IN.) | WATER TEMP. C° | ANALYTICAL RESULTS
|  |  |  | TURBIDITY |  |  | pH |  | RES. Cl2 | TOTAL HARD "V" |  | TOTAL ALKALINITY |  | P ALKALINITY
|  |  |  | RAW | SETTLED (TAP) | FINISHED (TAP) | RAW | FINISHED (TAP) | FINISHED (TAP) | RAW | FINISHED (TAP) | RAW | FINISHED (TAP) | FINISHED (TAP)
1 | 73 | 3.5 | 27.6667 | 6.95 | 3.045 | 0.10717 | 8.37 | 8.98 | 3.2983 | 120 | 115.6667 | 84 | 52.6667 | 6.3333
2 | 73 | 2 | 25 | 7.95 | 3.306 | 0.12067 | 8.28 | 9.0317 | 2.8883 | 123 | 105.3333 | 80 | 51.6667 | 8
3 | 75 | 2.5 | 26.3333 | 10.4 | 2.805 | 0.0915 | 8.09 | 8.97 | 2.9758 | 115 | 104.3333 | 81 | 61.3333 | 6.3333
4 | 73 | 1.7 | 26 | 9.19 | 2.5483 | 0.086 | 8.07 | 9.07 | 3.2 | 128 | 109.6667 | 74 | 56 | 6
5 | 72 | 1 | 25.8333 | 7.38 | 2.6383 | 0.10217 | 8.2 | 8.8767 | 3.3067 | 73 | 124.3333 | 104 | 64.6667 | 7.3333
6 | 0 | 0 | 25.3333 | 8.19 | 2.28 | 0.10333 | 8.23 | 8.965 | 3.1092 | 105 | 116 | 78 | 56.3333 | 6
7 | 81 | 0 | 23.8333 | 8.32 | 2.365 | 0.104 | 8.21 | 9.0383 | 3.52 | 127 | 120 | 78 | 66.6667 | 6.3333
8 | 75 | 0 | 26 | 9.28 | 2.3433 | 0.091167 | 8.39 | 9.0683 | 3.2008 | 105 | 114.6667 | 73 | 51.6667 | 8.3333
9 | 57 | 0.8 | 25.8333 | 8.68 | 2.9167 | 0.10667 | 8.2 | 8.79 | 3.1908 | 110 | 117 | 80 | 67.3333 | 2.6667
10 | 64 | 0 | 24.6667 | 9.74 | 2.8525 | 0.10367 | 8.47 | 8.9583 | 2.9317 | 117 | 126 | 75 | 60.3333 | 7
11 | 69 | 0 | 24 | 9.22 | 2.6767 | 0.077167 | 8.65 | 9.055 | 2.65 | 125 | 120.6667 | 90 | 56.6667 | 8.3333
12 | 76 | 0 | 24 | 8.86 | 3.1617 | 0.086833 | 8.57 | 9.04 | 3.1425 | 128 | 117.6667 | 92 | 56 | 6.6667
13 | 75 | 0 | 24.6667 | 7.06 | 3.044 | 0.098167 | 9.14 | 8.9683 | 3.6717 | 125 | 123.6667 | 76 | 65 | 7.6667
14 | 75 | 0 | 24.5 | 7.16 | 2.7733 | 0.079667 | 8.98 | 9.0917 | 3.5758 | 113 | 128.6667 | 70 | 57.6667 | 7
15 | 78 | 0 | 24.8333 | 5.48 | 2.7217 | 0.090333 | 9.11 | 9.0517 | 3.4642 | 106 | 116.3333 | 68 | 54 | 6.3333
16 | 81 | 0 | 25.1667 | 6.56 | 2.95 | 0.1025 | 9.08 | 9.04 | 3.5217 | 85 | 118 | 64 | 56 | 8.3333
17 | 71 | 0 | 24.8333 | 3.75 | 3.0183 | 0.10717 | 8.89 | 8.8417 | 3.7183 | 135 | 117.6667 | 65 | 57 | 6
18 | 71 | 0 | 24.8333 | 7.14 | 2.565 | 0.125 | 8.95 | 8.8317 | 4.1042 | 100 | 111.6667 | 63 | 53 | 5.6667
19 | 80 | 0 | 23.6667 | 7.49 | 2.945 | 0.11383 | 8.96 | 8.8667 | 3.73 | 97 | 133.3333 | 65 | 60.3333 | 7
20 | 71 | 0 | 22.5 | 7.58 | 2.775 | 0.0905 | 8.69 | 8.8567 | 3.435 | 132 | 121.6667 | 70 | 56 | 10.6667
21 | 67 | 1 | 23.5 | 7.58 | 3.13 | 0.10183 | 8.25 | 8.7383 | 3.6108 | 119 | 125 | 80 | 64 | 5
22 | 68 | 1 | 24.1667 | 7.5 | 3.25 | 0.10483 | 8.12 | 8.7967 | 3.235 | 124 | 117 | 86 | 54.3333 | 6.3333
23 | 69 | 2 | 23.1667 | 8.29 | 3.47 | 0.1465 | 8.31 | 8.9383 | 3.2133 | 150 | 117 | 80 | 54.3333 | 10
24 | 66 | 1 | 22.5 | 7.32 | 3.175 | 0.081167 | 8.17 | 8.5767 | 2.695 | 109 | 122 | 75 | 61 | 3.3333
25 | 65 | 0 | 22.5 | 8.95 | 2.8633 | 0.10883 | 7.93 | 8.4367 | 3.3033 | 115 | 125.6667 | 75 | 60.3333 | 4.3333
26 | 75 | 0 | 22.8333 | 9.01 | 2.94 | 0.10517 | 8.16 | 8.6433 | 3.025 | 105 | 128 | 79 | 66.3333 | 7.3333
27 | 79 | 0 | 23.3333 | 8.87 | 3.6625 | 0.114 | 8.41 | 8.355 | 30.1425 | 102 | 134.6667 | 67 | 71.6667 | 3
28 | 48 | 1 | 22.5 | 10 | 3.0433 | 0.076333 | 8.61 | 8.625 | 3.9733 | 106 | 131.3333 | 85 | 69.6667 | 2
29 | 55 | 0 | 22.6667 | 9.14 | 2.3033 | 0.224 | 8.67 | 8.5267 | 3.4178 | 108 | 124.6667 | 85 | 67.6667 | 2.3333
30 | 60 | 0 | 23.1667 | 10.4 | 2.9617 | 0.11433 | 8.74 | 8.89 | 3.55 | 105 | 124.6667 | 75 | 72 | 3.6667
31 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
TOTAL |  | 17.5
AVG. | 65.871 | 0.56452 | 24.3278 | 8.1147 | 2.8843 | 0.10548 | 8.4967 | 8.8639 | 4.2267 | 113.7333 | 120.4111 | 77.2333 | 60.0556 | 6.1778
MAX. | 81 | 3.5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
MIN. | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Filter
| WATER TREATMENT PLANT MONTHLY FILTER REPORT | [8 empty] | Month, Year: September 2020
Date | FILTER DATA
| NUMBER IN SERVICE | AVG. HOURS IN SERVICE | AVG. HRS. RUN BETWEEN WASH | AVG. MAX. LOSS OF HEAD | WASHWATER (TOTAL ONLY) TG | NO. FILTERS WASHED | gal | lbs | lbs | lbs | lbs | ppm
[7 empty] | LAS | IRON | CL2 | POLY | POT. | IRON | POLY | LAS | CL2 | POT.
1 | 7 | 24 | 0 | 0 | 0 | 0 | 57 | 2622.76 | 540 | 684 | 110 | 41.5429 | 10.8341 | 0.90284 | 8.5533 | 1.7423
2 | 5 | 18 | 117 | 0.47 | 85 | 1 | 45 | 2021.98 | 420 | 470.25 | 100 | 40.0733 | 9.3198 | 0.89185 | 8.3239 | 1.9819
3 | 4 | 24 | 111 | 0.23 | 107 | 1 | 44 | 1563.32 | 320 | 367.65 | 65 | 36.5397 | 8.5931 | 1.0284 | 7.4794 | 1.5193
4 | 5 | 24 | 121 | 2.33 | 95 | 1 | 52 | 2060.74 | 580 | 453.15 | 91 | 40.977 | 9.0107 | 1.034 | 11.5331 | 1.8095
5 | 5 | 24 | 124 | 2.85 | 245 | 2 | 64 | 2545.24 | 560 | 581.4 | 74 | 41.9786 | 9.589 | 1.0556 | 9.2361 | 1.2205
6 | 5 | 24 | 112 | 0.39 | 240 | 2 | 53 | 2112.42 | 420 | 495.9 | 110 | 42.2146 | 9.9101 | 1.0592 | 8.3933 | 2.1982
7 | 4 | 24 | 0 | 0 | 0 | 0 | 50 | 2021.98 | 440 | 495.9 | 34 | 42.2376 | 10.359 | 1.0445 | 9.1913 | 0.71023
8 | 4 | 24 | 96 | 0.47 | 79 | 1 | 49 | 1925.08 | 440 | 427.5 | 76 | 40.9991 | 9.1046 | 1.0436 | 9.3708 | 1.6186
9 | 5 | 24 | 105 | 0.96 | 109 | 1 | 69 | 2616.3 | 660 | 598.5 | 99 | 40.9537 | 9.3685 | 1.0801 | 10.3312 | 1.5497
10 | 3 | 19.25 | 157 | 0.06 | 198 | 1 | 45 | 1724.82 | 420 | 384.75 | 66 | 41.3626 | 9.2266 | 1.0791 | 10.0719 | 1.5827
11 | 3 | 24 | 0 | 0 | 0 | 0 | 50 | 1795.88 | 500 | 427.5 | 55 | 41.8936 | 9.9726 | 1.1664 | 11.6638 | 1.283
12 | 5 | 24 | 85 | 0.5 | 249 | 2 | 71 | 2493.56 | 580 | 581.4 | 78 | 40.2406 | 9.3825 | 1.1458 | 9.3599 | 1.2588
13 | 5 | 24 | 100 | 0.89 | 200 | 2 | 76 | 2519.4 | 660 | 598.5 | 87 | 40.6576 | 9.6585 | 1.2265 | 10.651 | 1.404
14 | 4 | 24 | 0 | 0 | 0 | 0 | 62 | 2138.26 | 520 | 453.15 | 55 | 42.5891 | 9.0257 | 1.2349 | 10.3572 | 1.0955
15 | 5 | 24 | 0 | 0 | 0 | 0 | 69 | 2319.14 | 580 | 555.75 | 90 | 41.5657 | 9.9606 | 1.2367 | 10.3953 | 1.6131
16 | 5 | 24 | 0 | 0 | 0 | 0 | 72 | 2390.2 | 660 | 555.75 | 75 | 41.0007 | 9.5331 | 1.2351 | 11.3214 | 1.2865
17 | 5 | 24 | 111 | 3.04 | 388 | 3 | 80 | 2616.3 | 540 | 598.5 | 75 | 40.1671 | 9.1886 | 1.2282 | 8.2904 | 1.1514
18 | 5 | 24 | 137 | 0.96 | 145 | 1 | 70 | 2532.32 | 520 | 598.5 | 90 | 40.3771 | 9.5429 | 1.1161 | 8.2912 | 1.435
19 | 4 | 24 | 143 | 0.48 | 165 | 1 | 67 | 2506.48 | 580 | 598.5 | 55 | 40.1788 | 9.5939 | 1.074 | 9.2974 | 0.88165
20 | 4 | 24 | 0 | 0 | 0 | 0 | 55 | 2099.5 | 460 | 495.9 | 81 | 42.1673 | 9.9599 | 1.1046 | 9.2388 | 1.6268
21 | 4 | 24 | 90 | 0.51 | 268 | 2 | 66 | 2545.24 | 500 | 555.75 | 70 | 40.6371 | 8.8731 | 1.0538 | 7.983 | 1.1176
22 | 4 | 24 | 115 | 1.47 | 155 | 1 | 59 | 1414.74 | 500 | 470.25 | 0 | 28.0849 | 9.3352 | 1.1712 | 9.9258 | 0
23 | 4 | 24 | 0 | 0 | 0 | 0 | 30 | 1899.24 | 500 | 453.15 | 64 | 38.795 | 9.2563 | 0.6128 | 10.2133 | 1.3073
24 | 5 | 24 | 105 | 0.53 | 109 | 1 | 0 | 1653.76 | 880 | 577.125 | 46 | 28.5313 | 9.9568 | 0 | 15.1821 | 0.79361
25 | 5 | 24 | 0 | 0 | 0 | 0 | 0 | 1615 | 1720 | 534.375 | 107 | 26.5631 | 8.7893 | 0 | 28.2901 | 1.7599
26 | 5 | 19 | 0 | 0 | 0 | 0 | 0 | 0 | 670 | 534.375 | 16 | #VALUE! | 9.1273 | 0 | 11.4438 | 0.27329
27 | 6 | 16 | 0 | 0 | 0 | 0 | 0 | 2519.4 | 650 | 555.75 | 55 | 44.2942 | 9.7708 | 0 | 11.4278 | 0.96697
28 | 4 | 24 | 166 | 0.4 | 98 | 1 | 0 | 2325.6 | 980 | 940.5 | 55 | 46.3975 | 18.7637 | 0 | 19.5517 | 1.0973
29 | 5 | 24 | 0 | 0 | 0 | 0 | 0 | 1634.38 | 790 | 940.5 | 55 | 29.2491 | 16.8313 | 0 | 14.1379 | 0.98429
30 | 5 | 24 | 176 | 0.4 | 98000 | 1 | 0 | 2803.64 | 570 | 709.65 | 110 | 38.9083 | 9.8484 | 0 | 7.9103 | 1.5266
31 | [6 empty] | 0 | 0 | 0 |  | 0 | #VALUE! | #VALUE! | 0 | 0 | 0
TOTAL |  | 696.25 |  |  | 100935 | 25 | 1355 | 63036.68 | 18160 | 16693.875 | 2144
AVG | 4.6333 |  | 72.3667 | 0.56467 | 3364.5 | 0.83333 | 43.7097 | 2091.8655 | 585.8065 | 489.6818 | 71.4667 | #VALUE! | 10.0562 | 0.80081 | 10.5618 | 1.2515
MIN | 3 |  | 0 | 0 | 0 | 0 | 0 | 1563.32 | 0 | 367.65 | 0 | #VALUE! | #VALUE! | 0 | 0 | 0
MAX | 7 |  | 176 | 3.04 | 98000 | 3 | 80 | 2622.76 | 1720 | 684 | 110 | #VALUE! | #VALUE! | 1.2367 | 28.2901 | 2.1982

## Monthly Chemical Report
Month, Year: |  | September/1/2020 | Water Treatment Plant Monthly Chemical Report
Month, Year: |  | #REF!
|  | LAS |  |  | Ferric |  |  | Chlorine (lbs) |  |  | Polymer (lbs) |  |  | KMnO4 (lbs) |  |  | Lime |  |  | PAC |  |  | Potassium (lbs) |  |  | LIME
Date | Raw Water Treated (MGD) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | Cost Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | $ Per Day (treated water) | (lbs) | $ Per MGD (treated water) | Cost Per Day (treated water) | $ Per Day (treated water) | Total $Per MGD | Total $ Per Day
1 | 7.57 | 583.11 | 8.2421 | 62.3928 | 5245.52 | 65.4824 | 495.7016 | 540 | 25.6446 | 194.13 | 684 | 65.9604 | 499.32 | [9 empty] | 110 | 30.4353 | 230.395 | 249.81 | 195.7648 | 1731.7494
2 | 6.05 | 460.35 | 8.1417 | 49.2574 | 4043.96 | 63.166 | 382.1542 | 420 | 24.957 | 150.99 | 470.25 | 56.7409 | 343.2825 | [9 empty] | 100 | 34.6198 | 209.45 | 199.65 | 187.6255 | 1334.7842
3 | 5.13 | 450.12 | 9.3885 | 48.1628 | 3126.64 | 57.596 | 295.4675 | 320 | 22.425 | 115.04 | 367.65 | 52.3167 | 268.3845 | [9 empty] | 65 | 26.5385 | 136.1425 | 169.29 | 168.2646 | 1032.4873
4 | 6.03 | 531.96 | 9.4394 | 56.9197 | 4121.48 | 64.5904 | 389.4799 | 580 | 34.5788 | 208.51 | 453.15 | 54.859 | 330.7995 | [9 empty] | 91 | 31.6085 | 190.5995 | 198.99 | 195.076 | 1375.2986
5 | 7.27 | 654.72 | 9.6362 | 70.055 | 5090.48 | 66.1692 | 481.0504 | 560 | 27.6919 | 201.32 | 581.4 | 58.3799 | 424.422 | [9 empty] | 74 | 21.3195 | 154.993 | 239.91 | 183.1968 | 1571.7504
6 | 6 | 542.19 | 9.6691 | 58.0143 | 4224.84 | 66.5412 | 399.2474 | 420 | 25.165 | 150.99 | 495.9 | 60.3345 | 362.007 | [9 empty] | 110 | 38.3992 | 230.395 | 198 | 200.109 | 1398.6537
7 | 5.74 | 511.5 | 9.5349 | 54.7305 | 4043.96 | 66.5774 | 382.1542 | 440 | 27.5575 | 158.18 | 495.9 | 63.0674 | 362.007 | [9 empty] | 34 | 12.4064 | 71.213 | 189.42 | 179.1437 | 1217.7047
8 | 5.63 | 501.27 | 9.5268 | 53.6359 | 3850.16 | 64.6252 | 363.8401 | 440 | 28.0959 | 158.18 | 427.5 | 55.4307 | 312.075 | [9 empty] | 76 | 28.2739 | 159.182 | 185.79 | 185.9526 | 1232.703
9 | 7.66 | 705.87 | 9.8601 | 75.5281 | 5232.6 | 64.5536 | 494.4807 | 660 | 30.9752 | 237.27 | 598.5 | 57.0372 | 436.905 | [9 empty] | 99 | 27.0699 | 207.3555 | 252.78 | 189.496 | 1704.3193
10 | 5 | 460.35 | 9.8515 | 49.2574 | 3449.64 | 65.1982 | 325.991 | 420 | 30.198 | 150.99 | 384.75 | 56.1735 | 280.8675 | [9 empty] | 66 | 27.6474 | 138.237 | 165 | 189.0686 | 1110.3429
11 | 5.14 | 511.5 | 10.648 | 54.7305 | 3591.76 | 66.0353 | 339.4213 | 500 | 34.9708 | 179.75 | 427.5 | 60.715 | 312.075 | [9 empty] | 55 | 22.412 | 115.1975 | 169.62 | 194.781 | 1170.7943
12 | 7.43 | 726.33 | 10.4599 | 77.7173 | 4987.12 | 63.4297 | 471.2828 | 580 | 28.0633 | 208.51 | 581.4 | 57.1227 | 424.422 | [9 empty] | 78 | 21.988 | 163.371 | 245.19 | 181.0637 | 1590.4932
13 | 7.43 | 777.48 | 11.1965 | 83.1904 | 5038.8 | 64.087 | 476.1666 | 660 | 31.9341 | 237.27 | 598.5 | 58.8028 | 436.905 | [9 empty] | 87 | 24.5251 | 182.2215 | 245.19 | 190.5456 | 1660.9435
14 | 6.02 | 634.26 | 11.2734 | 67.8658 | 4276.52 | 67.1314 | 404.1311 | 520 | 31.0532 | 186.94 | 453.15 | 54.9501 | 330.7995 | [9 empty] | 55 | 19.1358 | 115.1975 | 198.66 | 183.5438 | 1303.594
15 | 6.69 | 705.87 | 11.2897 | 75.5281 | 4638.28 | 65.5183 | 438.3175 | 580 | 31.1674 | 208.51 | 555.75 | 60.6424 | 405.6975 | [9 empty] | 90 | 28.1771 | 188.505 | 220.77 | 196.7949 | 1537.328
16 | 6.99 | 736.56 | 11.275 | 78.8119 | 4780.4 | 64.6277 | 451.7478 | 660 | 33.9442 | 237.27 | 555.75 | 58.0397 | 405.6975 | [9 empty] | 75 | 22.4732 | 157.0875 | 230.67 | 190.3598 | 1561.2847
17 | 7.81 | 818.4 | 11.2124 | 87.5688 | 5232.6 | 63.3138 | 494.4807 | 540 | 24.8566 | 194.13 | 598.5 | 55.9417 | 436.905 | [9 empty] | 75 | 20.1136 | 157.0875 | 257.73 | 175.4382 | 1627.902
18 | 7.52 | 716.1 | 10.1892 | 76.6227 | 5064.64 | 63.6447 | 478.6085 | 520 | 24.859 | 186.94 | 598.5 | 58.0991 | 436.905 | [9 empty] | 90 | 25.0672 | 188.505 | 248.16 | 181.8592 | 1615.7412
19 | 7.48 | 685.41 | 9.8047 | 73.3389 | 5012.96 | 63.3322 | 473.7247 | 580 | 27.8757 | 208.51 | 598.5 | 58.4098 | 436.905 | [9 empty] | 55 | 15.4007 | 115.1975 | 246.84 | 174.823 | 1554.5161
20 | 5.97 | 562.65 | 10.0843 | 60.2035 | 4199 | 66.4666 | 396.8055 | 460 | 27.7002 | 165.37 | 495.9 | 60.6377 | 362.007 | [9 empty] | 81 | 28.4178 | 169.6545 | 197.01 | 193.3066 | 1351.0506
21 | 7.51 | 675.18 | 9.6197 | 72.2443 | 5090.48 | 64.0546 | 481.0504 | 500 | 23.9348 | 179.75 | 555.75 | 54.021 | 405.6975 | [9 empty] | 70 | 19.5226 | 146.615 | 247.83 | 171.1527 | 1533.1871
22 | 6.04 | 603.57 | 10.6924 | 64.582 | 2829.48 | 44.2692 | 267.3859 | 500 | 29.7599 | 179.75 | 470.25 | 56.8349 | 343.2825 | [9 empty] | 0 | 0 | 0 | 199.32 | 141.5563 | 1054.3204
23 | 5.87 | 306.9 | 5.5943 | 32.8383 | 3798.48 | 61.151 | 358.9564 | 500 | 30.6218 | 179.75 | 453.15 | 56.3543 | 330.7995 | [9 empty] | 64 | 22.8361 | 134.048 | 193.71 | 176.5574 | 1230.1022
24 | 6.95 | 0 | 0 | 0 | 3307.52 | 44.9728 | 312.5606 | 880 | 45.5194 | 316.36 | 577.125 | 60.6189 | 421.3012 | [9 empty] | 46 | 13.8629 | 96.347 | 229.35 | 164.9739 | 1375.9189
25 | 7.29 | 0 | 0 | 0 | 3230 | 41.8704 | 305.235 | 1720 | 84.8203 | 618.34 | 534.375 | 53.5108 | 390.0938 | [9 empty] | 107 | 30.7423 | 224.1115 | 240.57 | 210.9438 | 1778.3503
26 | 7.02 | 0 | 0 | 0 | 0 | 0 | 0 | 670 | 34.3113 | 240.865 | 534.375 | 55.5689 | 390.0938 | [9 empty] | 16 | 4.7738 | 33.512 | 231.66 | 94.654 | 896.1308
27 | 6.82 | 0 | 0 | 0 | 5038.8 | 69.8191 | 476.1666 | 650 | 34.2632 | 233.675 | 555.75 | 59.4864 | 405.6975 | [9 empty] | 55 | 16.8911 | 115.1975 | 225.06 | 180.4599 | 1455.7966
28 | 6.01 | 0 | 0 | 0 | 4651.2 | 73.1345 | 439.5384 | 980 | 58.6206 | 352.31 | 940.5 | 114.2371 | 686.565 | [9 empty] | 55 | 19.1676 | 115.1975 | 198.33 | 265.1599 | 1791.9409
29 | 6.7 | 0 | 0 | 0 | 3268.76 | 46.1042 | 308.8978 | 790 | 42.3888 | 284.005 | 940.5 | 102.4724 | 686.565 | [9 empty] | 55 | 17.1937 | 115.1975 | 221.1 | 208.159 | 1615.7653
30 | 8.64 | 0 | 0 | 0 | 5607.28 | 61.3296 | 529.888 | 570 | 23.717 | 204.915 | 709.65 | 59.9589 | 518.0445 | [9 empty] | 110 | 26.6661 | 230.395 | 285.12 | 171.6716 | 1768.3625
31 |  | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 |  | #VALUE! | #VALUE! | [9 empty] | 0 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE!
Total | 199.41 |  |  | 1483.1965 |  |  | 11913.9325 |  |  | 6528.52 |  |  | #VALUE! |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 4490.608 | 6580.53 | 5521.5018 | 43183.3158
Avg. | 6.647 | 447.15 | 7.5543 | 47.845 | 4066.8826 | 59.9597 | 384.3204 | 585.8065 | 32.7223 | 210.5974 | 556.4625 | 61.2242 | 406.2176 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 69.1613 | 22.5895 | 144.8583 | 219.351 | 216.5554 | 1439.4439
Max | 8.64 | 818.4 | #VALUE! | 87.5688 | 5607.28 | #VALUE! | 529.888 | 1720 | #VALUE! | 618.34 | 940.5 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | #VALUE! | 230.395 | #VALUE! | #VALUE! | #VALUE!
Min. | 5 | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | 0 | #VALUE! | 0 | 367.65 | #VALUE! | #VALUE! | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #VALUE! | 0 | #VALUE! | #VALUE! | #VALUE!
|  | Ammonia $/lb |  | 0.107 | Ferric $/lb |  | 0.0945 | Chlorine $/lb |  | 0.3595 | Polymer $/lb |  | 0.73 | KMnO4 $/lb |  | 0.25 | Lime $/lb |  | 0.25 | PAC $/lb |  | 0.25 | Potassium $/lb |  | 2.0945 | Lime | 33 | Per MGD
|  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract through |  |  | Contract |  | 0.21656 | PerKG

## LAS Meter
Month:
LAS Carrier Water Meter
Prev. | 5459910
1 | 5500130 | 40220
2 | 5540470 | 40340
3 | 5579310 | 38840
4 | 5617980 | 38670
5 | 5657720 | 39740
6 | 5696930 | 39210
7 | 5736560 | 39630
8 | 5777510 | 40950
9 | 5815900 | 38390
10 | 5854860 | 38960
11 | 5893550 | 38690
12 | 5932440 | 38890
13 | 5971630 | 39190
14 | 6010920 | 39290
15 | 6050000 | 39080
16 | 6089070 | 39070
17 | 6129800 | 40730
18 | 6169910 | 40110
19 | 6210500 | 40590
20 | 6250470 | 39970
21 | 6291580 | 41110
22 | 0 | -6291580
23 | 30 | 30
24 | 6356060 | 6356030
25 | 6356060 | 0
26 | 6356060 | 0
27 | 6356060 | 0
28 | 6356060 | 0
29 | 6356060 | 0
30 | 0 | -6356060
31 | 0 | 0
Total |  | -5459910

## Graphs
Chemicals | Amount
LAS | 2021.7447
Fe | 11913.9325
CL2 | 6528.52
Poly | #VALUE!
Potassium | 4490.608
Lime | 0
Chemfloc 3315 | 43183.3158